GAP ANALYSIS OF HEALTH SUBCENTRE (SC)

### Identification

State ___________nagaland____________________________________________________________________________________________________________________________ District _________________________Dimapur______________________________________________________________________________________________________________ Block ____________________Chumukedima_______________________________________________________________________________________________________________ Name and location of the SC ____________________Aoyimti___________________________________________________________________________________________________ Number of villages catered by the SC __________________5____________________________________________________________________________________________ Population covered by the SC _______________________7251___________________________________________________________________________________________________ Average monthly OPD _____________________________60____________________________________________________________________________________________________ Average monthly delivery load _________________________nil___________________________________________________________________________________________________ Name and distance from nearest Primary Health Centre (PHC)______________10km________________________________________________________________________________ Name, designation and mobile no. of the assessor __________Senti jamir/ BPM Chumukedima/ 8259982994______________________________________________________________ Date of Gap Assessment____________________20/11/2019_____________________________________________________________________________________________________

- Human Resources

| Sl | Staff | Name of health worker | Staff currently in position at the SC? | Type of appointment of the staff in this position | Staff trained in SBA | Staff trained in IMNCI/NSSK | Staff trained in RI | Staff trained in ANMOL | Staff trained on ASHA module 6 & 7 | Staff trained in NCD screening | Any other trainings (please specify) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ANM | yatikala | Yes / No | Permanent/Contractual | Yes | Yes | Yes | No | - | Yes |  |
|  | Additional ANM | Temjenmenla | Yes / No | Permanent/Contractual | Yes | Yes | Yes | No | - | Yes |  |
|  | Multipurpose Health Worker (Male) |  | Yes / No | Permanent/Contractual | - | Yes / No | Yes / No | - | - | Yes / No |  |
|  | ASHA | - Alemla - alina - Kehoni - Kalpana - Deepali |  |  |  |  |  |  | No No No No No No No | Yes / No Yes / No Yes / No Yes / No Yes / No Yes / No Yes / No |  |

- Infrastructure

| Sl | Questions | Response | Remarks |
| --- | --- | --- | --- |
|  | Is the SC functioning in building owned by Government? | Yes | Not enough room |
| 1.1 | If yes, Type of SC (Type A-providing recommended service, Type B- Intranatal services in addition to recommended services) | Type A |  |
| 1.2 | Total constructed area available (in sq. ft.) | 300sq.ft. |  |
|  | What are the working hours of the SC | 9 am to 1 pm |  |
|  | Whether the SC has a proper approach road? | Yes |  |
|  | Whether the SC has a proper boundary wall? | No |  |
|  | Whether the SC has a provision of ramp for use of wheel chair/stretcher? | No |  |
|  | Whether SC building needs repair and renovation? | Yes |  |
|  | If yes, type of renovation required? (Give details in the remarks column) | Major |  |
|  | Does the SC hasprovision of electricity (24X7) along with lights and fans? | Yes |  |
|  | Is there any provision of generator/invertor connection for power backup at the SC? | No |  |
|  | Does the SC hasseparate male and female toilet facility for patients? | No |  |
|  | Does the SC hasseparate male and female toilet facility for staff? | No |  |
|  | Does the SC hasprovision of water supply (24X7)? | No |  |
|  | Does the SC hasprovision of safe drinking water? | / No |  |
|  | What is the source of water supply in this SC? |  |  |
|  | - Tap Water | No |  |
|  | - Hand Pump | No |  |
|  | - Well | Yes |  |
|  | - Bore Well | No |  |
|  | - Others, please specify |  |  |
|  | Does SC has a separate room for OPD services/consultation? | Yes |  |
|  | Is there an ear marked waiting area/hall available for patients?? | No |  |
|  | Is there a separate labour room in the SC? | No |  |
|  | Is there a functional focused lamp available in the labor room? | No |  |
|  | Is there 24X7 electricity backup available in the labor room? | No |  |
|  | Does the labour room haspiped water supply (24X7)? | No |  |
|  | Does the SC has functional newborn care corner? | No |  |
|  | Number of additional rooms available other than labour room, OPD/consultation room and waiting hall/ area | No |  |
|  | No. of beds available for patient admission (Specially for delivery points) | No |  |
|  | Does the SC has facility for staff accommodation? | No |  |
| 24.1 | If yes, then is it being used? | No |  |
|  | Does the SC has access to ambulance services for transporting patients during emergency? | No |  |
|  | What is the mechanism for waste disposal? |  |  |
|  | - Burn in Pit | No |  |
|  | - Bury in a Pit | Yes |  |
|  | - Thrown in Common/Public Disposal Pit | No |  |
|  | - Outsourced | No |  |
|  | - Thrown in Premises | No |  |
|  | - Others, please specify |  |  |
|  | Kindly provide the list of services being provided by the SC (Give details in the remarks column) |  | OPD,ANC,NCD,Immunisation,Lab test |
|  | Kindly provide list of laboratory tests being provided by the SC? |  | Mp Test, Syphillis test |

- IT readiness, IEC and others

| Sl | IT readiness, IEC and others | Available | Remarks |
| --- | --- | --- | --- |
|  | Internet connectivity | No |  |
|  | Type of IT support-Smart Phones with MPWs/ASHAs/Tablet | Yes |  |
|  | Training undertaken for frontline staff on use of IT based systems | No |  |
|  | IEC Display | No |  |
|  | Citizen charter | Yes |  |
|  | Suggestion/ complaint box | No |  |
|  | List of registers being maintained at the SC (Give details in the remarks column) |  | .ANC, NCD,VHND,OPD,RCH,Stock,Asset ,Lab test |
|  | Kindly mention the date of the recent household survey |  | 26/09/2019 |
|  | Any Other information |  |  |

- Clinical Materials, Tools and Equipment

| Sl | Clinical Material, tools and equipment | Number of items available | Number of items functional | Sl | Clinical Material, tools and equipment | Number of items available | Number of items functional |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Basin 825 ml. SS (Stainless Steel) Ref. IS 3992 | No |  |  | Foetoscope | 1 | 1 |
|  | Basin deep (capacity 6 litre) ss Ref: IS: 5764 with Stand | No |  |  | Hub Cutter and Needle Destroyer | 2 | 2 |
|  | Tray instrument/Dressing with cover 310 x 195x63mm SS, Ref IS: 3993 | 1 | 1 |  | Ambu Bag (Paediatric size) with Baby mask | No |  |
|  | Flashlight/Torch Box-type pre-focused (4 cell) | No |  |  | Suction Machine | No |  |
|  | Torch (ordinary) | 0 |  |  | Oxygen Administration Equipment | 0 |  |
|  | Dressing Drum with cover 0.945 litres stainless steel | 1 | 1 |  | Tracking Bag and Tickler Box (Immunization) | 1 | 1 |
|  | Hemoglobinometer –Sahli’s type complete | 0 |  |  | Measuring Tape | 1 | 1 |
|  | Weighing Scale, Adult 125 kg/280 lb | 1 | 1 |  | I/V Stand | 0 |  |
|  | Weighing Scale, Infant (10 Kg) | 1 | 1 |  | Artery Forceps-Curved | 0 |  |
|  | Weighing Scale, (baby) hanging type, 5 kg | 0 |  |  | BP Apparatus (Digital) | 0 |  |
|  | Sterilizer | 1 | 1 |  | Dental Probe | 0 |  |
|  | Surgical Scissors straight 140 mm, ss | 1 | 1 |  | Digital Thermometer | 0 |  |
|  | Sphygmomanometer Aneroid 300 mm with cuff IS: 7652 | 0 |  |  | Examination Lamp | 0 |  |
|  | Kelly’s haemostat Forceps straight 140 mm ss | 1 | 1 |  | Tongue Depressor | 0 |  |
|  | Vulsellum Uterine Forceps curved 25.5 cm | 0 |  |  | Weighing Scale Adult (Digital) | 0 |  |
|  | Cusco’s/Graves Speculum vaginal bi-valve small, | 0 |  |  | Oxygen Cylinder with trolley | 0 |  |
|  | Cusco’s/Graves Speculum vaginal bi-valve medium | 1 | 1 |  | Mouth Gag | 0 |  |
|  | Cusco’s/Graves Speculum vaginal bi-valve large | 0 |  |  | Mouth Mirror | 0 |  |
|  | Sims retractor/depressor | 0 |  |  | Snellen vision chart | 0 |  |
|  | Sims Speculum vaginal double ended ISS Medium | 0 |  |  | Near vision chart | 1 | 1 |
|  | Uterine Sound Graduated | 0 |  |  | Stadiometer | 0 |  |
|  | Cheatle’s Forceps | 0 |  |  | Nebulizer | 0 |  |
|  | Vaccine Carrier | 3 | 3 |  | Gauze Cutting Scissors Straight | 1 | 1 |
|  | Ice pack box | 18 | 18 |  | Episiotomy Scissors | 1 | 1 |
|  | Sponge holder | 1 | 1 |  | Kits for testing residual chlorine in drinking water | 0 |  |
|  | Plain Forceps | 1 | 1 |  | Tuning fork | 0 |  |
|  | Tooth Forceps | 0 | 0 |  | Nasal Speculum (St. Claire’s) | 0 |  |
|  | Needle Holder | 2 | 2 |  | App and headphones for App-based Audiometry | 0 |  |
|  | Suture needle straight -10 | 0 |  |  | Ear Speculum – metallic, dull finish | 0 |  |
|  | Suture needle curved | 0 |  |  | Jobson-Horne probe | 0 |  |
|  | Kidney tray | 1 | 1 |  | Eustachian Catheter | 0 |  |
|  | Artery Forceps, straight, 160mm Stainless steel | 1 | 1 |  | Rapid Diagnostic Kit | 0 |  |
|  | Dressing Forceps (spring type), 160 mm, stainless steel | 0 |  |  | Digital Scope for oral, nasal and throat examination with Digital Tablet | 0 |  |
|  | Cord cutting Scissors, Blunt, curved on flat, 160 mm ss | 1 | 1 |  | Slit lamp biomicroscope | 0 |  |
|  | Clinical Thermometer oral & rectal | 0 |  |  | Applanation tonometer | 0 |  |
|  | Talquist Hb scale | 0 |  |  | Spirometer | 0 |  |
|  | Stethoscope | 1 | 1 |  | Digital Scope for oral, nasal and throat examination with Digital Tablet | 0 |  |

- Linen, Consumables and Miscellaneous Items

| Sl | Linen/ Consumables/ Miscellaneous | Available | Number of items available | Sl | Linen/Consumable/Miscellaneous | Available | Number of items available |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Syringe (10 cc, 5 cc, 2 cc) and AD Syringes (0.5 ml and 0.1 ml) for immunization | Yes | Syringe 5 box,ad syringe 3 box |  | Online UPS 1 KVA with 60 minute backup | No |  |
|  | Disposable gloves | Yes | 2 box |  | Fire Extinguisher | Yes | 1 |
|  | Mucus extractor | Yes | 2 |  | Buckets Big (Plastic) | Yes | 1 |
|  | Disposable Cord clamp | No |  |  | Buckets Small (Plastic) | Yes | 1 |
|  | Disposable Sterile Urethral Catheter (rubber plain 12 fr) | No |  |  | Dust bins-Blue | No |  |
|  | Foley’s catheter (Adult) | No |  |  | Dust Bins – Red | No |  |
|  | Dry cell/Battery | No |  |  | Dust Bins – Yellow | No |  |
|  | Disposable lancet (Pricking needles) | Yes | 1 pack |  | Dust Bins- Black | No |  |
|  | Disposable Sterile Swabs | Yes | 1pack |  | Black Disposal bags | No |  |
|  | Routine Immunization Monitoring Chart | Yes | 1 |  | Red Disposal Bags | No |  |
|  | Blank Immunization Cards/Joint MCH Card (one per pregnant mother) and Tally Sheets (one per immunization session) | No |  |  | Yellow Disposal Bags | No |  |
|  | Partograph charts | No |  |  | Blue Disposal Bags | No |  |
|  | IV canula and Intravenous set | Yes | 1 |  | Hand Towels | No |  |
|  | Interdental cleaning aids | No |  |  | Bed Sheet for Examination Tables | Yes | 2 |
|  | Chlorine tablets | No |  |  | Cleaning material, detergent | Yes | 1 |
|  | Sanitary napkins | No |  |  | Insecticide treated nets | No |  |
|  | 200-watt Bulb (2) | No |  |  | Micropore Tapes | No |  |
|  | Salt – Iodine test kit | No |  |  | Condom Catheters | No |  |
|  | Mackintosh Sheets – 5 metres | No |  |  | Urine Bags | No |  |
|  | Wooden spatula | No |  |  | Feeding Tubes | No |  |
|  | Suture Material | No |  |  | Nicotine Patches | No |  |

- Furniture and Fixtures

| Sl | Furniture and Fixture | Number of items available | Number of items functional | Sl | Furniture and Fixture | Number of items available | Number of items functional |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Chairs for patient waiting area | 2 | 2 |  | Screen Separators with stand | 0 |  |
|  | Foot Step | 0 |  |  | Steel Almirah / Cupboard/storage chests | 2 | 2 |
|  | Office Chair | 1 | 1 |  | Stool for attendants | 2 | 2 |
|  | Office Table | 1 | 1 |  |  |  |  |

- Lab – Diagnostic Materials and Reagents for screening

| Sl | Lab – Diagnostic Materials and Reagents | Number of items available | Number of items functional | Sl | Lab – Diagnostic Materials and Reagents | Number of items available | Number of items functional |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Glucometer | 1 | 1 |  | Rapid Pregnancy Testing Kit | 0 |  |
|  | Glucometer Testing Strips | 0 |  |  | Rapid Test Kit for Dengue | 0 |  |
|  | Slide drying rack | 0 |  |  | N/10 Hydrochloric Acid | 0 |  |
|  | Specimen collection bottle | 0 |  |  | Reagents such as Hydrochloric acid, acetic acid, Benedict’s solution, Bleaching powder, Hypochlorite solution, Methylated spirit etc. | 0 |  |
|  | Spirit lamp | 0 |  |  | Acetic Acid Solution | 0 |  |
|  | Test tube holding clamp | 0 |  |  | Micropippette | 0 |  |
|  | Test tube rack | 0 |  |  | Yellow Tips for Micropipette | 0 |  |
|  | Test tubes | 0 |  |  | Dipsticks for urine test for protein and sugar (1 container of 25 strips) | 0 |  |
|  | Glass rods | 0 |  |  | Whole Blood Finger Prick HIV Rapid Test and STI Screening Test each | 0 |  |
|  | Glass Slide box of 25 slides | 0 |  |  | H2S strips test bottles for water testing | 0 |  |

- Drugs(As per state EDL/ Operational Guidelines for CPHC)

| Sl | Drugs | Dosage type | Availability | Sl | Drugs | Dosage type | Availability |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Oxygen | Inhalation (Medicinal gas) | No |  | Domperidone | Tablet 10 mg | No |
|  | Lignocaine | Topical forms 2-5% | No |  | Dicyclomine | Tablet 10 mg | No |
|  | Diclofenac | Tablet 50 mg | Yes |  | Oral rehydration salts | As licensed | Yes |
|  |  | Injection 25 mg/ml | Yes |  | Zinc sulphate | Dispersible Tablet 20 mg | Yes |
|  | Paracetamol | Tablet 500 mg | Yes |  | Ethinylestradiol(A) + Norethisterone | Tablet 0.035 mg (A) + 1 mg (B) | No |
|  |  | Tablet 650 mg | No |  | Hormone releasing IUD | Contains 52 mg of Levonorgestrel | No |
|  |  | All licensed oral liquid dosage forms and strengths | No |  | IUD containing Copper | As licensed | No |
|  | Cetrizine | Tablet 10 mg | No |  | Condom | As per the standards prescribed in Schedule R of Drugs and Cosmetics rules, 1945 | No |
|  | Chlorpheniramine | Tablet 4 mg | No |  | Ethinylestradiol | Tablet 0.01 mg | No |
|  |  | Oral liquid 2 mg/5 ml | No |  |  | Tablet 0.05 mg | No |
|  | Albendazole | Tablet 400 mg | No |  | Levonorgestrel | Tablet 0.75 mg | No |
|  | Diethylcarbamazin (Antifilarial) | Tablet 50 mg | No |  | Ciprofloxacin | Drops 0.3 % | No |
|  |  | Tablet 100 mg | No |  |  | Ointment 0.3% | No |
|  | Ciprofloxacin | Tablet 250 mg | No |  | Methylergometrine | Tablet 0.125 mg | No |
|  |  | Tablet 500 mg | No |  | Misoprostol | Tablet 100 mcg | No |
|  | Gentamicin | Injection 10 mg/ml | No |  | Water for Injection | Injection | No |
|  |  | Injection 40 smg/ml | No |  | Ascorbic acid(Vitamin C) | Tablet 100 mg | No |
|  | Metronidazole | Tablet 200 mg | Yes |  | Cholecalciferol | Tablet 1000 IU, | No |
|  |  | Tablet 400 mg |  |  |  | Tablet 60000 IU | No |
|  | Amoxicillin | Capsule 250 mg | Yes |  |  | Oral liquid 400 IU/ml | No |
|  |  | Capsule 500 mg | No |  | Vitamin A | Capsule 5000 IU | No |
|  |  | Oral liquid 250 mg/5 ml | No |  |  | Capsule 50000 IU | No |
|  | Fluconazole | Tablet 100 mg | No |  |  | Capsule 100000 IU | Yes |
|  | Chloroquine | Tab 150 mg | No |  |  | Oral liquid 100000 IU/ml | No |
|  | Primaquine | Tablet 2.5 mg | No |  | Phytomenadione(Vitamin K1) | Injection 10 mg/ml | No |
|  |  | Tablet 7.5 mg | No |  | Activated charcoal | Powder (as licensed) | No |
|  |  | Tablet 15 mg | No |  | Atropine | Injection 1 mg/ml | No |
|  | Artesunate (A) + Sulphadoxine – Pyrimethamine (B). Combi pack (A+B) | 1 Tablet 25 mg (A) + 1 Tablet (250 mg + 12.5 mg) (B) | No |  | Snake venom antiserum | Injection | No |
|  |  | 1 Tablet 50 mg (A) + 1 Tablet(500 mg + 25 mg) (B) | No |  | Lyophilized polyvalent | Powder for Injection | No |
|  |  | 1 Tablet 100 mg (A) + 1 Tablet(750 mg + 37.5 mg) (B) | No |  | Pralidoxime chloride (2-PAM) | Injection 25 mg/ml | No |
|  |  | 1 Tablet 150 mg (A) + 2 Tablet(500 mg + 25 mg) (B) | No |  | Acetylsalicylic Acid | Tablet 300 mg to 500 mg | No |
|  |  | 1 Tablet 200 mg (A) + 2 Tablet(750 mg + 37.5 mg) (B) | No |  |  | Effervescent/ Dispersible/ Enteric coated Tablet 300 mg to 500 mg | No |
|  | Ferrous salts | Tablet equivalent to 60 mg of elemental iron | No |  | Ibuprofen | Tablet 200 mg | Yes |
|  |  | Oral liquid equivalent to 25 mg of elemental iron/ml | No |  |  | Tablet 400 mg | No |
|  | Ferrous salt (A) + Folic acid (B) | Tablet 45mg elemental iron (A) +400 mcg (B) | No |  |  | Oral liquid 100 mg/5 ml | No |
|  |  | Tablet 100 mg elemental iron (A) + 500 mcg (B) | No |  | Mefenamic acid | Capsule 250 mg | No |
|  |  | Oral liquid 20 mg elemental iron(A) + 100 mcg (B)/ml | No |  |  | Capsule 500 mg | No |
|  | Folic acid | Tablet 5 mg | Yes |  | Ciprofloxacin | Drops 0.3 % | No |
|  | Clotrimazole | Cream 1% | Yes |  | Clotrimazole | Drops 1% | No |
|  | Methylrosanilinium chloride(Gentian Violet) | Topical preparation 0.25% to 2% | No |  | Normal Saline nasal drops : sodium chloride | Drops 05%w/v | No |
|  | Povidone iodine | Solution 4% to 10% | Yes |  | Xylometazoline nasal drops | pediatric( 0.05%), adult(.1%) | No |
|  | Silver sulphadiazine | Cream 1% | No |  | Wax-solvent ear drops : benzocaine, chlorbutol, paradichlorobenzene, turpentine oil |  | No |
|  | Framycetin | Cream 0.5% | No |  | Boro-spirit ear drops | 0.183gm boric acid in 2.08 ml of alcohol | No |
|  | Ethyl alcohol(Denatured) | Solution 70% | No |  | Combo ear drops | (Chloramphenicol (5%w/v) + Clotrimazole (1%)+ Lignocaine hydrochloride (2% ) | No |
|  | Hydrogen peroxide | Solution 6% | No |  | Liquid paraffin – menthol drops | (Menthol 10gm+Eucalyptus 2ml+Camphor 10gm+Liquid paraffin to 100ml) | No |
|  | Methylrosanilinium chloride(Gentian Violet) | Topical preparation 0.25% to 2% | No |  | Potassium permanganate | Crystals for topical solution | No |
|  | Povidone iodine | Solution 4% to 10% | Yes |  | Inj. Adrenaline |  | No |
|  | Bleaching powder | Containing not less than 30% w/w of available chlorine (as per I.P) | No |  | Inj. Hydrocortisone |  | No |
|  | Potassium permanganate | Crystals for topical solution | No |  | Inj. Dexamethasone |  | No |
|  | Ranitidine | Tablet 150 mg | Yes |  | Glyceryl trinitrate- Sublingual tablet 0.5 mg |  | No |

- Drugs for Non – communicable diseases (As per state EDL/ Operational Guidelines for CPHC)

| Sl | Drugs | Dosage type | Availability | Sl | Drugs | Dosage type | Availability |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Amlodipine | Tablet 2.5 mg | No |  | Premix Insulin30:70 Injection(Regular:NPH) | Injection 40 IU/ml | No |
|  |  | Tablet 5 mg | Yes |  | Metformin | Tablet 500 mg | No |
|  |  | Tablet 10 mg | No |  |  | Tablet 750 mg | No |
|  | Atenolol | Tablet 50 mg | No |  |  | Tablet 1000 mg | No |
|  |  | Tablet 100 mg | No |  | Carbamazepine | Tablet 100 mg | No |
|  | Enalapril | Tablet 2.5 mg | No |  | Diazepam | Oral liquid 2 mg/5 ml | No |
|  |  | Tablet 5 mg | No |  | Phenobarbitone | Tablet 30 mg Tablet 60 mg | No |
|  | Propanalol | Tablet 40 mg | No |  |  | Oral liquid 20 mg/5 ml | No |
|  |  | Tablet 80 mg | No |  | Phenytoin | Tablet 50 mg | No |
|  |  | Tablet 10 mg | No |  |  | Tablet 100 mg | No |
|  | Isosorbide dinitrate | Tablet 5 mg | No |  |  | Tablet 300 mg | No |
|  |  | Tablet 10 mg | No |  |  | ER Tablet 300 mg | No |
|  | Clopidogrel | Tablet 75 mg | No |  |  | Injection 25 mg/ml | No |
|  | Furosemide | Tablet 40 mg | No |  |  | Injection 50 mg/ml | No |
|  |  | Oral liquid 10 mg/ml | No |  | Sodium valproate | Tablet 200 mg | No |
|  | Hydrochlorothiazide | Tablet 25 mg | No |  |  | Tablet 500 mg | No |
|  | Spironolactone | Tablet 25 mg | No |  | Salbutamol | Tablet 2 mg | No |
|  |  | Tablet 50 mg | No |  |  | Tablet 4 mg | No |
|  | Glimepiride | Tablet 1 mg | No |  |  | Oral liquid 2 mg/5 ml | No |
|  |  | Tablet 2 mg | No |  |  | Respirator solution for use in nebulizer 5mg/ml | No |
|  | Insulin (Soluble) | Injection 40 IU/ml | No |  |  | Inhalation (MDI/DPI) 100 mcg/dose | No |
|  | Intermediate Acting (NPH) Insulin | Injection 40 IU/ml | No |  |  |  |  |

- Any other Comments: