## Sheet1
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for Community Health Centre, 2019
Identification Details
| District: | TUENSANG
| Block: | NOKLAK
| Name of CHC: | NOKLAK
| Date of Data Collection | Day | Month | Year
|  | 20 | NOVEMBER | 2019
HR Training/Capacity building
| Name of the Training | Training Status
|  | Doctor/MO |  | GNM |  | ANM |  | Lab.Tech
|  | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
| a. Maternal Health | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 1) SBA | 4 | 0 | 8 | 2 | 3 | 0 | 3 | 0
| 2) EmOC | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 3) BEmOC | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 4) LSAS | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 5) MTP/MVA | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 6) RTI/STI | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 7) BSU | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 8) IMEP | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 9) LaQshya | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 10) Dakshata | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 11) HIV AIDS & Syphilis | 4 | 0 | 8 | 4 | 3 | 3 | 3 | 3
b. Child Health
| 1) F-IMNCI | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 2) NSSK | 4 | 0 | 8 | 4 | 3 | 0 | 3 | 0
| 3) FBNC | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 4) IYCF | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 5) PRE SERVICE IMNCI | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 6) IMNCI | 4 | 0 | 8 | 2 | 3 | 0 | 3 | 0
| 7) RBSK | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 8) Immunization | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 9) HBYC | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
c. Family Planning
| 1) IUCD | 4 | 0 | 8 | 1 | 3 | 0 | 3 | 0
| 2) MINI LAP | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 3) NSV | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 4) PPIUCD | 4 | 0 | 8 | 2 | 3 | 0 | 3 | 0
| 5) LAP STER. | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 6) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives) | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| 7) ARSH/RKSK | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| d. National Vector Borne Disease Control Programme (NVBDCP) | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| e. Revised National Tuberculosis Control Programme (RNTCP) | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| f. National Leprosy Elimination Programme (NLEP) | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| g. Integrated Disease Surveillance Project (IDSP) | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| h. National Programme for Control of Blindness (NPCB) | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| i. National Iodine Deficiency Disease Control Programme (NIDDCP) | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| j. National AIDS Control Programme (NACP) | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
| k. Non-Communicable Diseases (NCD) | 4 | 0 | 8 | 1 | 3 | 0 | 3 | 0
| Any other (Specify) | 4 | 0 | 8 | 0 | 3 | 0 | 3 | 0
Equipments
A | Standard Surgical Set - I (Instruments) FRU (Essential) | Nos. Available
Sl.No. | Item | Functional | Non Functional | Requirement/Proposed (In Numbers)
1 | Tray, instrument/dressing with cover, 310 x 200 x 600 mm-ss | 0 | 0 | 2
2 | Forceps, backhaus towel, 130 mm | 0 | 0 | 1
3 | Forceps, sponge holding, 228 mm | 0 | 0 | 1
4 | Forceps, artery, pean straight, 160 mm, stainless steel | 0 | 0 | 1
5 | Forceps hysterectomy, curved, 22.5 mm | 0 | 0 | 2
6 | Forceps, hemostatic, halsteads mosquito, straight, 125 mm-ss | 0 | 0 | 1
7 | Forceps, tissue, all/is 6x7 teeth, straight, 200 mm-ss | 0 | 0 | 2
8 | Forceps, uterine, tenaculum, 280 mm, stainless steel | 0 | 0 | 1
9 | Needle holder, mayo, straight, narrow jaw, 175 mm-ss | 0 | 0 | 2
10 | Knife-handle surgical for minor surgery # 3 | 0 | 0 | 1
11 | Knife-handle surgical for major surgery # 4 | 0 | 0 | 2
12 | Knife-blade surgical, size 11, for minor surgery, pkt of 5 | 0 | 0 | 2
13 | Knife-blade surgical, size 15 for minor surgery, pkt of 5 | 0 | 0 | 2
14 | Knife blade surgical, size 22, for major surgery, pkt of 5 | 0 | 0 | 2
15 | Needles, suture triangular point, 7.3 cm, pkt of 6 | 0 | 0 | 2
16 | Needles, suture, round bodied, 3/8 circle No. 12 pkt of 6 | 0 | 0 | 2
17 | Retractor, abdominal, Deavers, size 3, 2.5 cm x 22.5 cm | 0 | 0 | 2
18 | Retractor, double-ended abdominal, Beltouis, set of 2 | 0 | 0 | 2
19 | Scissors, operating curved mayo-blunt pointed 170 mm | 0 | 0 | 2
20 | Retractor abdominal, Balfour 3 blade self-retaining | 0 | 0 | 2
21 | Scissors, operating, straight, blunt point, 170 mm | 0 | 0 | 2
22 | Scissors, gauze, straight, 230 mm, stainless steel | 0 | 0 | 1
23 | Suction tube, 225 mm, size 23 F | 0 | 0 | 1
24 | Clamp intestinal, Doyen, curved, 225 mm, stainless steel | 0 | 0 | 1
25 | Clamp intestinal, Doyen straight, 225 mm, stainless steel | 0 | 0 | 1
26 | Forceps, tissue spring type, 160 mm, stainless steel | 0 | 0 | 1
27 | Forceps , tissue spring type, 250 mm, stainless steel. | 0 | 0 | 2
B | Standard Surgical Set – II (Essential)
1 | Forceps, tissue, 6 x 7 teeth, Thomas-Allis, 200 mm- ss | 0 | 0 | 1
2 | Forceps, backhaus towel, 130 mm, stainless steel | 0 | 0 | 1
3 | Syringe, anaesthetic (control), 10 ml, luer-glass | 0 | 0 | 1
4 | Syringe, hypodermic, 10 ml glass, spare for item 3 | 0 | 0 | 2
5 | Needles, hypodermic 20G x 1-1/2” box of 12 | 0 | 0 | 2
6 | Forceps, tissue, spring type, 145 mm, stainless steel | 0 | 0 | 1
7 | Forceps, tissue spring type 1 x 2 teeth, Semkins, 250 mm | 0 | 0 | 1
8 | Forceps, tissue spring type, 250 mm, stainless steel | 0 | 0 | 1
9 | Forceps, hemostat curved mosquito halsteads, 130 mm | 0 | 0 | 1
10 | Forceps, artery, straight pean, 160 mm, stainless steel | 0 | 0 | 1
11 | Forceps artery, curved pean, 200 mm, stainless steel | 0 | 0 | 1
12 | Forceps, tissue, Babcock, 195 mm, stainless steel | 0 | 0 | 1
13 | K nife handle for minor surgery No. 3 | 0 | 0 | 1
14 | K nife blade for minor surgery No. 10, pkt of 5 | 0 | 0 | 1
15 | Needle holder, straight narrow-jaw Mayo-Heger, 175 mm | 0 | 0 | 1
16 | Needle suture straight, 5.5 mm, triangular point, pkt of 6 | 0 | 0 | 1
17 | Needle, Mayo, % circle, taper point, size 6, pkt of 6 2 | 0 | 0 | 1
18 | Catheter urethral Nelaton solid-tip one-eye 14 Fr | 0 | 0 | 1
19 | Catheter urethral Nelaton solid-tip one-eye 16 Fr | 0 | 0 | 1
20 | Catheter urethral Nelaton solid-tip one-eye 18 Fr | 0 | 0 | 1
21 | Forceps uterine tenaculum duplay dbl-cvd, 280 mm | 0 | 0 | 1
22 | Uterine elevator (Ranathlbod), stainless steel | 0 | 0 | 1
23 | Hook, obstetric, Smellie, stainless steel | 0 | 0 | 1
24 | Proctoscope Mcevedy complete with case | 0 | 0 | 1
25 | Bowl, sponge, 600 ml, stainless steel | 0 | 0 | 1
26 | Retractor abdominal Richardson-Eastman, dbl-ended, set 2 | 0 | 0 | 1
27 | Retractor abdominal Deaver, 25 mm x 3 cm, stainless steel | 0 | 0 | 1
28 | Speculum vaginal bi-valve graves, medium, stainless steel | 0 | 0 | 1
29 | Scisssors ligature, spencer straight, 130 mm, stainless steel | 0 | 0 | 1
30 | Scissors operating straight, 140 mm, blunt/blunt ss | 0 | 0 | 1
31 | Scissors operating curved, 170 mm, blunt/blunt ss | 0 | 0 | 1
32 | Tray instrument curved, 225 x 125 x 50 mm, stainless steel | 0 | 0 | 1
33 | Battery cells for item 24 | 0 | 0 | 1
C | IUD Insertion Kit (Essential)
1 | Setal sterilization tray with cover size 300 x 220 x 70 mm, S/S, Ref IS:3993 | 0 | 0 | 1
2 | Bowl, metal sponge, 600 ml, Ref. IS: 5782 | 0 | 0 | 1
3 | Speculum vaginal bi-valve cusco’s graves small ss | 0 | 0 | 1
4 | Forceps sponge holding, straight 228 MMH Semken 200 mm | 0 | 0 | 1
5 | Sound uterine simpson, 300 mm graduated UB 20 mm | 0 | 0 | 1
6 | Forceps uterine tenaculum duplay DBL-CVD, 280 mm | 0 | 0 | 1
7 | Forceps tissue - 160 mm | 0 | 0 | 1
8 | Anterior vaginal wall retractor stainless | 0 | 0 | 1
9 | Torch without batteries | 0 | 0 | 1
10 | Speculum vaginal bi-valve cusco’s/Grea Ves Medium ss | 0 | 0 | 1
11 | Forceps artery, straight, Pean, 160 mm | 0 | 0 | 1
12 | Scissors operating, straight, 145 mm, Blunt/Blunt | 0 | 0 | 1
13 | Forceps uterine vulsellum curved, Museux, 240 mm | 0 | 0 | 1
14 | Speculum vaginal double-ended #3 | 0 | 0 | 1
D | CHC Standard Surgical Set – III (Essential)
1 | Tray, instrument/dressing with cover, 310 x 195 x 63 mm | 6 | 0 | 0
2 | Forceps, backhaus towel, 130 mm, stainless steel | 10 | 0 | 0
3 | Forceps, hemostat, straight, Kelly, 140 mm, stainless steel | 0 | 0 | 1
4 | Forceps, hemostat, curved, Kelly, 125 mm, stainless steel | 0 | 0 | 1
5 | Forceps, tissue Allis, 150 mm, stainless steel, 4 x 5 teeth | 6 | 0 | 0
6 | Knife handle for minor surgery No. 3 | 6 | 0 | 0
7 | Knife blade for minor surgery, size 11, pkt of 5 | 0 | 0 | 0
8 | Needle hypodermic, Luer 22G x 11/4”, box of 12 | 0 | 0 | 0
9 | Needle hypodermic, Luer 250G x 3/4”, box of 12 | 0 | 0 | 0
10 | Needle, suture straight 5.5 cm, triangular point, pkt of 6 | 0 | 0 | 0
11 | Needle, suture, Mayo circle, taper point No. 6, pkt of 6 | 2 | 0 | 0
12 | Scissors, ligature, angled on flat, 140 mm, stainless steel | 0 | 0 | 0
13 | Syringe anaesthetic control, Luer - 5 ml, glass | 0 | 0 | 0
14 | Syringe 5 ml, spare for item 13 | 0 | 0 | 0
15 | Sterilizer, instrument 200 x 100 x 60 mm with burner ss | 2 | 0 | 0
16 | Syringe, hypodermic, Luer 5 ml, glass | 0 | 0 | 0
17 | Forceps, sterilizer, Cheatle, 265 mm, stainless steel | 10 | 0 | 0
E | Standard Surgical Set – IV (Essential)
1 | Vaccum extractor, Malastrom | 0 | 0 | 0
2 | Forceps obstetric, Wrigley's, 280 mm, stainless steel | 0 | 0 | 0
3 | Forceps, obstetric, Barnes-Neville, with traction, 390 mm | 0 | 0 | 0
4 | Forceps, sponge holding, straight 228 mm, stainless steel | 0 | 0 | 0
5 | Forceps, artery, Spencer-Wells, straight, 180 mm-ss | 0 | 0 | 0
6 | Forceps, artery, Spencer-Wells, straight, 140 mm-ss | 0 | 0 | 0
7 | Holder, needle straight, Mayo-Hegar, 175 mm-ss | 0 | 0 | 0
8 | Scissors, ligature, Spencer, 130 mm, stainless steel | 0 | 0 | 0
9 | Scissors, episiotomy, angular, Braun, 145 mm, stainless steel | 0 | 0 | 0
10 | Forceps, tissue, spring-type, 1 x 2 teeth, 160 mm-ss | 0 | 0 | 0
11 | Forceps, tissue, spring-type, serrated ups, 160 mm-ss | 0 | 0 | 0
12 | Catheter, urethral, rubber, Foley's 14 ER | 0 | 0 | 0
13 | Catheter, urethral, Nelaton, set of five (Fr 12-20) rubber | 0 | 0 | 0
14 | Forceps, backhaus towel -130 mm-ss | 0 | 0 | 0
15 | Speculum, vaginal, Sim's, double-ended # 3-ss | 0 | 0 | 0
16 | Speculum, vaginal, Hamilton-Bailey | 0 | 0 | 0
F | Standard Surgical Set – V (Essential) | 0 | 0 | 0
1 | Forceps, obstetric, Neville-Barnes, W/traction 390 mm | 0 | 0 | 0
2 | Hook, decapitation, Braun, 300 mm, stainless steel | 0 | 0 | 0
3 | Hook, crochet, obstetric 300 mm, Smellie, stainless steel | 0 | 0 | 0
4 | Bone, forceps, Mesnard 280 mm, stainless steel | 0 | 0 | 0
5 | Perforator, Smellie, 250 mm, stainless steel | 0 | 0 | 0
6 | Forceps, cranial, Gouss, straight, 295 mm-ss | 0 | 0 | 0
7 | Cranioclast, Braun, stainless steel, 365 mm long | 0 | 0 | 0
8 | Scissors ligature Spencer 130 mm, stainless steel | 0 | 0 | 0
9 | Forceps sponge holding, 22.5 cm straight - ss | 0 | 0 | 0
10 | Forceps, tissue, spring-type, 1 x 2 teeth, 160 mm, stainless steel | 0 | 0 | 0
11 | Forceps, tissue, spring-type, serrated tips, 160 mm-ss | 0 | 0 | 0
12 | Forceps, artery, Spencer-Wells, straight, 180 mm-ss | 0 | 0 | 0
13 | Forceps, artery, Spencer-Wells, straight, 140 mm-ss | 0 | 0 | 0
14 | Forceps, scalp flap, Willet's 190 mm -ss | 0 | 0 | 0
15 | Forceps, Vulsellum, duplay double curved, 280 mm-ss | 0 | 0 | 0
16 | Forceps, Vulsellum, duplay double curved, 240 mm-ss | 0 | 0 | 0
17 | Catheter, urethral, 14 Fr. solid tip, one eye, soft rubber | 0 | 0 | 0
18 | Holder, needle, Mayo-Hegar, narrow jaw, straight, 175 mm-ss | 0 | 0 | 0
19 | Speculum vaginal bi-valve, Cusco-medium, stainless steel | 0 | 0 | 0
20 | Speculum, vaginal sim's double-ended, size # 3-ss | 0 | 0 | 0
21 | Forceps, backhaus towel, 130 mm, stainless steel | 0 | 0 | 0
G | Standard Surgical Set – VI (Essential) | 0 | 0 | 0
1 | Forceps, sponge holding, straight, 225 mm, stainless steel | 0 | 0 | 0
2 | Speculum, vaginal, Sim's double-ended size # 3 - ss | 0 | 0 | 0
3 | Speculum, vaginal, weighted Auvard, 38 x 75 mm blade - ss | 0 | 0 | 0
4 | Forceps, tenaculum, Teale's, 230 mm-ss | 0 | 0 | 0
5 | Sound, uterine, Simpson, 300 mm with 200 mm graduations | 0 | 0 | 0
6 | Dilator, uterine, double - ended hegar, set of 5 - ss | 0 | 0 | 0
7 | Curette, uterine, sim's blunt, 26 cm x 11 mm size # 4-ss | 0 | 0 | 0
8 | Curette, uterine, sim's sharp, 26 cm x 9 mm size # 3-ss | 0 | 0 | 0
9 | Forceps, artery, Spencer-Well's straight, 140 mm-ss | 0 | 0 | 0
10 | Forceps, tissue, spring-type, serrated tips, 160 mm-ss | 0 | 0 | 0
11 | Forceps, ovum, Krantz, 290 mm, stainless steel | 0 | 0 | 0
H | Miscellaneous
1 | NSV Kit | 0 | 0 | 1
2 | Laproscope | 0 | 0 | 1
3 | Nebuliser | 2 | 0 | 0
| Peak Expiratory Flow Rate (PEFR) Meter (Desirable) | 0 | 0 | 0
I | Equipment for Anaesthesia (Essential)
1 | Face mask, plastic w/rubber cushion & headstrap, set of 4 | 0 | 0 | 0
2 | Airway Guedel or Berman, autoclavable rubber, set of 6 | 0 | 0 | 0
3 | Laryngoscope, set with infant, child, adolescent blades | 0 | 0 | 0
4 | Catheter, endotracheal w/cuff, rubber set of 4 | 0 | 0 | 0
5 | Catheter, urethral, stainless steel, set of 8 in case | 0 | 0 | 0
6 | Forceps, catheter, Magill, adult and child sizes, set of 2 | 0 | 0 | 0
7 | Connectors, catheter, straight/curved, 3, 4, 5 mm (set of 6) | 0 | 0 | 0
8 | Cuffs for endotracheal catheters, spare for item 4 | 0 | 0 | 0
9 | Breathing tubes, hoses, connectors for item 1, anti-static | 0 | 0 | 0
10 | Valve, inhaler, chrome-plated brass, Y-shape | 0 | 0 | 0
11 | Bag, breathing, self inflating, anti-static rubber, set of 4 | 0 | 0 | 0
12 | Vaporiser, halothane, dial setting | 0 | 0 | 0
13 | Vaporiser, ether or methoxyflurane, wick type | 0 | 0 | 0
14 | Intravenous set in box | 0 | 0 | 0
15 | Needle, spinal, stainless set of 4 | 0 | 0 | 0
16 | Syringe, anesthetic, control 5 ml Luer mount glass | 0 | 0 | 0
17 | Cells for item 3 | 0 | 0 | 0
J | Equipment for Neo-natal Resuscitation (Essential)
1 | Catheter, mucus, rubber, open ended tip, size 14FR | 0 | 0 | 0
2 | Catheter, nasal, rubber, open tip, funnel end, size 8Fr | 0 | 0 | 0
3 | Catheter, endotracheal, open tip, funnel end rubber, 12Fr | 0 | 0 | 0
4 | Stilette, curved, for stiffening tracheal catheter SS | 0 | 0 | 0
5 | Catheter, suction, rubber, size 8Fr | 0 | 0 | 0
6 | Laryngoscope, infant, w/three blades and spare bulbs. | 0 | 0 | 0
7 | Lateral mask, with ventillatory bag, infant size | 0 | 0 | 0
8 | Resuscitator, automatic, basinet type | 0 | 0 | 0
9 | Lamp, ultra-violet (heat source) with floor stand | 0 | 0 | 0
10 | Cells for item 6 (Laryngoscope) | 0 | 0 | 0
11 | Oxygen Cylinders | 6 | 0 | 0
12 | Nasal Prongs | 0 | 0 | 0
13 | Thermometers | 2 | 0 | 0
14 | Infantometer: Measuring range 33-100 cm | 0 | 0 | 0
15 | Stadiometer: Measuring range 60-200 cm | 0 | 0 | 0
16 | Photo therapy Unit | 0 | 0 | 0
17 | Radiant warmers | 2 | 0 | 0
18 | Dextromsticks | 0 | 0 | 0
19 | Nebulisers/MDI | 0 | 0 | 0
20 | IV Canulas (22 G and 24 G) | 0 | 0 | 0
21 | Scalp vein set No. 22 and 24 | 0 | 0 | 0
22 | Nasogastric tube ( 8,10,12 FG) | 0 | 0 | 0
23 | Oropharyngeal airway (000-4 Guydel size) | 0 | 0 | 0
24 | Plastic/disposable syringes including tuberculin | 0 | 0 | 0
25 | IV infusion sets (adult and pediatric) | 0 | 0 | 0
K | Materials Kit for Blood Transfusion (Essential) | 0 | 0 | 0
1 | Bovine albumin 20% testing agent, box of 10 X 5 ml vials | 0 | 0 | 0
2 | Centrifuge, angle head for 6 X 1 5 ml tubes, 240 volt | 0 | 0 | 0
3 | Bath, water, serological, with racks, cover, thermostat, 240 v | 0 | 0 | 0
4 | Pipette, volumetric, set of six 1 mol/2 ml/3 ml/5 ml/10 ml/20 ml | 0 | 0 | 0
5 | Test-tube without rim 75 X 12 mm HRG | 0 | 0 | 0
6 | Test-tube without rim 1 50 X 16 mm, HRG | 0 | 0 | 0
7 | Cuff, sphygmomanometer, set of two sizes – Child/Adult | 0 | 0 | 0
8 | Needle, blood collection disposable, 1 7 g X 1-1/3 box of 100 | 0 | 0 | 0
9 | Ball, donor squeeze, rubber, dia, 60 mm | 0 | 0 | 0
10 | Forceps, artery, Spencer-Wells, straight 140 mm, stainless steel | 0 | 0 | 0
11 | Scissors, operating, straight 140 mm, blunt/jpoints, ss | 0 | 0 | 0
12 | CPDA anti-coagulent, pilot bottle 350 mil for collection | 0 | 0 | 0
13 | Microscope, binocular, inclined, 10 X 40 X 100 X magnificent | 0 | 0 | 0
14 | Illuminator | 0 | 0 | 0
15 | Slides, microscope, plain 25 X 75 mm, clinical, box of 100 | 0 | 0 | 0
L | Equipment for Operation Theatre (Essential) | 0 | 0 | 0
1 | Diathermy machine | 0 | 0 | 0
2 | Dressing drum all sizes | 13 | 0 | 0
3a | Lamps shadow less: Ceiling lamp | 0 | 0 | 0
3b | Lamps shadow less: Portable type | 2 | 0 | 0
4 | Sterilizer | 2 | 0 | 0
5 | Suction Apparatus | 2 | 0 | 0
6 | Stand with wheel for single basin | 2 | 0 | 0
7a | Table operation, hydraulic: Major | 1 | 0 | 0
7b | Table operation, hydraulic: Minor | 0 | 0 | 0
8 | Trolley for patients | 3 | 0 | 0
9 | Trolley for instruments | 5 | 0 | 0
10 | X-ray view box | 0 | 0 | 0
11 | Wheel chairs | 1 | 0 | 0
M | Equipment for Labour Room
Sl. No. | Name of the Equipment
1 | Labour table with mattress, sheet, pillow (numbers as per case load), Macintosh, Foot-rest | 3 | 0 | 0
2 | Brass V drape to collect blood and amniotic fluid | 0 | 0 | 0
3 | Wall clock with seconds hand | 1 | 0 | 0
4 | Wall mounted thermometer | 0 | 0 | 0
5 | Suction apparatus | 1 | 0 | 0
6 | Equipment for adult resuscitation | 1 | 0 | 0
7 | Equipment for neonatal resuscitation | 1 | 0 | 0
8 | Delivery trolley | 1 | 0 | 0
9 | IV drip stand | 4 | 0 | 0
10 | Screen/Partition between two tables | 1 | 0 | 0
11 | Stool for birth companion | 0 | 0 | 0
12 | Lamp – wall mounted or side | 0 | 0 | 0
13 | Autoclave drums for instruments, linen, gloves, cotton, gauge, threads sanitary pads | 3 | 0 | 0
14 | a. Autoclaved delivery set for each delivery | 1 | 0 | 0
15 | Refrigerator | 1 | 0 | 0
16 | Sphygmomanometer, adult and newborn thermometer and newborn weighing machine | 1 | 0 | 0
17 | Consumables like gloves, apron, cotton, thread, gauze, sanitary napkins, catgut, IV drip sets, needle, cord clamp, medicines (injectable, oral and parenteral, leucoplast etc. | 0 | 0 | 0
18 | Pulse oxymeter | 0 | 0 | 0
19 | Sterilizer | 0 | 0 | 0
20 | Oxygen cylinder | 1 | 0 | 0
21 | Oxygen concentrator | 1 | 0 | 0
22 | Partograph | 1 | 0 | 0
23 | Labeled plastic jars for drugs and injectables with date of expiry written on them against each drug | 1 | 0 | 0
24 | Coloured bins for bio medical waste management | 4 | 0 | 0
25 | Hub cutter | 1 | 0 | 0
26 | Puncture proof container | 1 | 0 | 0
27 | Plastic tubs for 0.5% Chlorine solution | 1 | 0 | 0
28 | Intranatal Protocols (AMTSL , PPH etc.) | 0 | 0 | 0
29 | Wheel chair/patient's trolley | 0 | 0 | 0
30 | Hand-washing area and toilet for the admitted clients | 1 | 0 | 0
31 | Foeto-scope/Foetal Doppler | 2 | 0 | 0
32 | Stethoscope, | 1 | 0 | 0
33 | Display of SBA quality protocols, and shadow less lamp. | 0 | 0 | 0
34 | Mosquito Repellent | 0 | 0 | 0
TRAYS for Labour Rooms
1 | Delivery tray: Scissor, Artery forceps, Sponge holding forceps, Speculum, Urinary catheter, Bowl for antiseptic lotion, Kidney tray, Gauze pieces, Cotton swabs, Sanitary pads, Gloves. | 1 | 0 | 0
2 | Episiotomy tray: Inj. Xylocaine 2%, 10 ml disposable syringe with needle, Episiotomy scissor, Artery forceps, Allis forceps, Sponge holding forceps, Toothed forceps, Thumb forceps, Kidney tray, Needle holder, Needle (round body and cutting), Chromic catgut no. 0, Gauze pieces, Cotton swabs, Antiseptic lotion, Gloves. | 1 | 0 | 0
3 | Baby tray: Two pre-warmed towels/sheets for wrapping the baby (Baby should be received in a pre-warmed towel. Do not use metallic tray.), Mucus extractor, Bag and mask, Sterilized thread/cord clamp, Needle (26gauze) and syringe(1ml.), Inj. Vitamin K, Gloves. | 1 | 0 | 0
4 | Medicine tray*: Inj. Oxytocin 10 IU (to be kept in fridge), Inj. Gentamicin, Inj.Vit K, Inj. Betamethason, Inj. Hydralazine, Cap Ampicillin 500 mg, Tab. Metronidazole 400 mg, Tab Paracetamol, Tab Ibuprofen, Tab B complex, Tab.Misoprostol 200 micrograms, Tab.Nifedipine, Tab.Methyldopa, IV fluids - Ringer lactate, Normal Saline, Magnifying glass. (*-Nevirapin and other HIV drugs only for ICTC and ART Centres) | 1 | 0 | 0
5 | Emergency drug tray:** Inj. Oxytocin (to be kept in fridge), Inj. Magsulf 50%, Inj.Calcium gluconate-10%, Inj. Dexamethasone, Inj. Ampicillin, Inj. Gentamicin, Inj.Metronidazole, Inj. Lignocaine-2%, Inj. Adrenaline, Inj. Hydrocortisone Succinate, Inj.Diazepam, Inj. Pheneraminemaleate, Inj. Carboprost, Inj Pentazocin chloride, Inj. Promethazine, Inj.Betamethasone Inj.Hydralazine, IV fluids- Ringer lactate, normal saline, IV sets with 16-gauge needle at least two, IV Cannula, Vials for blood collection, Syringes and needles, Tab.Nifedipine, Tab.Methyldopa, Suction catheter, Mouth gag (** only for L2 & L3/BeMOC & CeMOC facilities) | 1 | 0 | 0
6 | MVA/ EVA tray: Gloves, Speculum, Anterior vaginal wall retractor, Posterior vaginal wall retractor, Sponge holding forceps, MVA syringe and cannulas, MTP cannulas, Urinary catheter, Small bowl of antiseptic lotion, Sterilized gauze/pads, Cotton swabs, Disposable syringe and needle, Tab.misoprostol. | 0 | 0 | 0
7 | PPIUCD tray***: PPIUCD Insertion Forceps, Sym's speculum, Ring forceps or sponge holding forceps, Cu IUCD 380A/ Cu IUCD 375 in a sterile package, Cotton swabs, Betadine solution. (*** – only for L3/DHs facilities with PPIUCD trained provider) | 1 | 0 | 0
Equipment and accessories for NBCC
1 | Baby tray | 1 | 0 | 0
2 | Pediatric stethoscope (preferable to have a neonatal stethoscope) | 2 | 0 | 0
3 | Baby scale | 1 | 0 | 0
4 | Radiant warmer | 0 | 0 | 0
5 | Self-inflating bag and mask–neonatal size (0 and 1) | 1 | 0 | 0
6 | Oxygen hood (neonatal) | 0 | 0 | 0
7 | Laryngoscope and Endotracheal intubation tubes* | 1 | 0 | 0
8 | Two set of pencil batteries | 0 | 0 | 0
9 | Mucus extractor with suction tube and a foot-operated suction machine NG tubes | 1 | 0 | 0
10 | Blankets | 5 | 0 | 0
11 | Two clean and dry towels | 5 | 0 | 0
12 | Feeding tubes | 0 | 0 | 0
13 | Empty vials for collecting blood | 1 | 0 | 0
14 | Alcohol handrub | 1 | 0 | 0
15 | HLD/sterile gloves | 0 | 0 | 0
16 | Syringe hub cutter. | 1 | 0 | 0
N | Equipment for Radiology
1 | Aprons lead ribber | 1 | 0 | 0
2 | Diagnostic X-ray Unit 20 C 7300 m A with automatic device | 0 | 0 | 0
3 | Dark room accessories | 0 | 0 | 0
4 | Dark room timer | 0 | 0 | 1
5 | Film clips | 8 | 0 | 0
6 | Lead sheets | 0 | 0 | 1
7 | X-ray view box | 0 | 0 | 1
8 | X-ay protection screen | 0 | 0 | 1
9 | X-ray film processing tank | 4 | 0 | 0
O | Immunization Equipment (Essential) |  | 0 | 0
1 | ILR (Large) with Voltage Stabilizer | 1 | 0 | 0
2 | DF (Large) with Voltage Stabilizer | 1 | 0 | 0
3a | Cold Boxes Small | 1 | 0 | 0
3b | Cold Boxes Large | 0 | 0 | 0
4 | Vaccine Carriers with Ice packs | 35 | 0 | 0
5 | Room Heater/Cooler for immunization clinic with electrical fittings | 0 | 0 | 0
6 | Thermometers Alcohol (stem) | 0 | 0 | 0
7a | AD syringes AD syringes (0.5 ml) | 0 | 0 | 0
7b | AD syringes AD syringes (0.1 ml) | 0 | 0 | 0
8 | Reconstitution syringes Reconstitution syringes (5ml) | 0 | 0 | 0
9 | Full size steel Almirah (For storage of registers and reports and Logistics) | 0 | 0 | 0
10 | Freeze Tag : Monitoring Freezing of vaccine | 0 | 0 | 0
11a | Waste disposal- Color Coded Pins (Green/Red/Yellow/White) | 1 | 0 | 0
11b | Waste disposal- hypochlorite solution/bleach | 0 | 0 | 0
12 | Chair for new staffs proposed | 0 | 0 | 0
13 | Water receptacle | 0 | 0 | 0
14 | Hub cutters | 1 | 0 | 0
15 | Computer with Modem with UPS, Printer with Internet connection | 1 | 0 | 0
16 | Immunization Schedule Display | 1 | 0 | 0
17 | Posters/Paintings on key messages | 0 | 0 | 0
18 | Records and Reports | 1 | 0 | 0
19 | Immunization register | 1 | 0 | 0
20 | Vaccine stock & issue register | 0 | 0 | 0
21 | Tally sheets | 0 | 0 | 0
22 | Temperature monitoring registers/chart | 0 | 0 | 0
23 | Monthly UIP reports | 0 | 0 | 0
24 | RI Monitoring Chart | 0 | 0 | 0
25 | Weekly surveillance reports (AFP, Measles) | 0 | 0 | 0
26 | Serious AEFI reports | 0 | 0 | 0
27 | Outbreak reports | 0 | 0 | 0
28 | Tracking Bag and Tickler Box | 1 | 0 | 0
P | Equipment and Consumables Required for the Stabilization Unit
1 | Open care system: radiant warmer, fixed height, with trolley, drawers, O2-bottles | 0 | 0 | 0
2 | Resuscitator, hand-operated, neonate and child, 500 ml | 0 | 0 | 0
3 | Laryngoscope set | 0 | 0 | 0
4a | Scale, baby, electronic, 10 kg | 0 | 0 | 0
4b | Scale, baby, electronic, 5 kg | 0 | 0 | 0
5 | Pump suction, foot operated | 0 | 0 | 0
6 | Thermometer, clinical, digital, 32-34 C | 0 | 0 | 0
7 | Light examination, mobile, 220-12 V | 0 | 0 | 0
8 | Hub Cutter, syringe | 0 | 0 | 0
9a | I/V Cannula 24 G | 0 | 0 | 0
9b | I/V Cannula 26 G | 0 | 0 | 0
10 | Extractor, mucus, 20 ml, ster, disp Dee Lee | 0 | 0 | 0
11 | Tube, feeding, CH07, L40 cm, ster, disp | 0 | 0 | 0
12 | Oxygen cylinder 8 F | 0 | 0 | 0
13 | Tube, suction, CH 10, L50 cm, ster, disp | 0 | 0 | 0
14 | Cotton wool, 500 g, roll, non-sterile | 0 | 0 | 0
15 | Disinfectant, chlorhexidine, 20% | 0 | 0 | 0
Furniture
S.No. | Item | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed (In Numbers)
1 | Delivery Table | 3 | 0 | 0
2 | Saline stand | 4 | 0 | 0
3 | Wheel chair | 1 | 0 | 0
4 | Stretcher on trolley | 0 | 0 | 0
5 | Oxygen trolley | 0 | 0 | 0
6 | Height measuring stand | 2 | 0 | 0
7 | Dressing trolley | 4 | 0 | 0
8 | Mayo trolley | 0 | 0 | 0
9 | Instrument trolley | 0 | 0 | 0
10 | Instrument tray | 0 | 0 | 0
Sl.No. | Infrastructure | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed
1 | No. Rooms Available/Existing | 38 | 38
2 | Toilets | 11 | 11
3 | Conditions of the Infrastructure | GOOD
4 | Water Reservoire/Overhead tanks for water supply | 0 | 0
5 | Any other Remarks/Comments