## Sheet1
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for District Hospital, 2019
Identification Details:
District: | WOKHA
Block: | WOKHA SADAR
Name of District Hospital: | Dr.MOTSUO MEMORAIL DISTRICT HOSPITAL WOKHA (DH)
Date of Data Collection | Day | Month | Year
HR Training/Capacity building
Name of the Training | Training Status
| Doctor |  | GNM |  | ANM |  | Lab.Tech
| No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
a. Maternal Health | 13 |  | 20 |  | 10 |  | 6
1) SBA |  | 1 |  |  |  | 1
2) EmOC
3) BEmOC
4) LSAS
5) MTP/MVA
6) RTI/STI | [6 empty] | 6 | 6
7) BSU
8) IMEP
9) LaQshya | 13 | 2 | 20 | 7
10) Dakshata | 13 | 2 | 20 | 8
11) HIV AIDS & Syphilis | 13 | 13 | 20 | 20 | 10 | 2 | 6 | 6
12) PMSMA | 13 | 1 | 20 | 0 | 10 | 0 | 6 | 0
b. Child Health
1) F-IMNCI
2) NSSK
3) FBNC
4) IYCF
5) PRE SERVICE IMNCI
6) IMNCI
7) RBSK
8) Immunization | 13 | 13 | 20 | 20 | 10 | 10
9) HBYC
c. Family Planning
1) IUCD | 13 | 12 | 20 | 1
2) MINI LAP | 13 | 1 | 20 | 0
3) NSV | 13 | 1 | 20 | 0
4) PPIUCD | 13 | 1 | 20 | 1
5) LAP STER. | 13 | 1 | 20 | 0
6) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives) | 13 | 13 | 20 | 20 | 10 | 10
7) ARSH/RKSK
d. National Vector Borne Disease Control Programme (NVBDCP)
e. Revised National Tuberculosis Control Programme (RNTCP)
f. National Leprosy Elimination Programme (NLEP)
g. Integrated Disease Surveillance Project (IDSP)
h. National Programme for Control of Blindness (NPCB)
i. National Iodine Deficiency Disease Control Programme (NIDDCP)
j. National AIDS Control Programme (NACP)
k. Non-Communicable Diseases (NCD)
Any other (Specify)
I. Imaging Equipment | Nos Available (mention in Numbers)
Name of the Equipment | Functional | Non Functional | Requirement/proposed (in Nos.)
500 M.A. X-ray machine | 0 | 0 | 1
300 M.A. X-ray machine | 0 | 0 | 1
100 M.A. X-ray machine | 0 | 1
60 M.A. X-ray machine (Mobile) | 0 | 0
C arm with accessories | 0 | 0
Dental X-ray machine | 0 | 0
Color Doppler Ultrasound machine with 4 probes: Abdomen, Paediatric, Soft Parts and Intra-cavitory | 0 | 0
Ultra Sonogram (Obs & Gyne. department should be having a separate ultra-sound machine of its own) | 1 | 0
Portable ultrasound | 0 | 0 | 1
C.T. Scan Multi slice (64 slice) | 0 | 0 | 1
Mammography Unit* | 0 | 0 | 1
Echocardiogram* | 0 | 0 | 1
MRI 1.5 Tesla | 0 | 0
II. X -Ray Room Accessories
Name of the Equipment
X-ray developing tank | 1 | 0
Safe light X-ray dark room | 1 | 0
Cassettes X-ray | YES | 0
X-ray lobby single | YES | YES
X-ray lobby Multiple | NO | 0
Lead Apron | 1 | 0
Intensifying screen X-ray | 0 | 0
Dossimeter | 0 | 0 | 1
III. Cardiopulmonary Equipment
Name of the Equipment
ECG machine computerized | 0 | 0 | 1
ECG machine ordinary | 2 | 0
12 Channel stress ECG test equipment Tread Mill* | 0 | 1
Echocardiography Machine | 0 | 0 | 1
Cardiac Monitor | 0 | 0
Cardiac Monitor with defibrillator | 0 | 0 | 1
Ventilators (Adult) | 0 | 0
Ventilators (Paediatrics) | 0 | 0
Pulse Oximeter | 3 | 1
Pulse Oximeter with NIB.P* | 0 | 0
Infusion pump | 0 | 0 | 4
B.P.apparatus table model | 6 | 4
B.P.apparatus stand model | 1 | 0 | 4
Stethoscope | 6 | 0 | 4
Nebuliser | 2 | 0
Peak Expiratory Flow Rate (PEFR) Meter | 0 | 0
IV. Labour Room
Name of the Equipment
Labour table with mattress, sheet, pillow (numbers as per case load), Macintosh, Foot-rest | 2 | 0
Brass V drape to collect blood and amniotic fluid | 0 | 0
Wall clock with seconds hand | 1 | 0
Wall mounted thermometer | 0 | 0 | 1
Suction apparatus | 2 | 2 | 2
Equipment for adult resuscitation | 1 | 0 | 1
Equipment for neonatal resuscitation | 1 | 0 | 1
Delivery trolley | 2 | 0 | 2
IV drip stand | 2 | 0
Screen/Partition between two tables | YES
Stool for birth companion | 2 | 0
Lamp – wall mounted or side | 1 | 0
Autoclave drums for instruments, linen, gloves, cotton, gauge, threads sanitary pads | 4 | 0
a. Autoclaved delivery set for each delivery | 2 | 0
Refrigerator | 1 | 0
Sphygmomanometer, adult and newborn thermometer and newborn weighing machine | 1 | 0
Consumables like gloves, apron, cotton, thread, gauze, sanitary napkins, catgut, IV drip sets, needle, cord clamp, medicines (injectable, oral and parenteral, leucoplast etc. | YES
Pulse oxymeter | 1 | 0 | 5
Sterilizer | 1 | 0
Oxygen cylinder | 2 | 0 | 5
Oxygen concentrator | 0 | 0 | 5
Partograph | YES
Labeled plastic jars for drugs and injectables with date of expiry written on them against each drug | YES
Coloured bins for bio medical waste management | YES
Hub cutter | 2 | 0
Puncture proof container | 1 | 0
Plastic tubs for 0.5% Chlorine solution | 0 | 0
Intranatal Protocols (AMTSL , PPH etc.) | YES
Wheel chair/patient's trolley | 1 | 0
Hand-washing area and toilet for the admitted clients | 1 | 0
Foeto-scope/Foetal Doppler | 1 | 0
Stethoscope, | 2 | 0
Display of SBA quality protocols, and shadow less lamp. | 0 | 0
Mosquito Repellent | 0 | 0
TRAYS for Labour Rooms
Delivery tray: Scissor, Artery forceps, Sponge holding forceps, Speculum, Urinary catheter, Bowl for antiseptic lotion, Kidney tray, Gauze pieces, Cotton swabs, Sanitary pads, Gloves. | YES
Episiotomy tray: Inj. Xylocaine 2%, 10 ml disposable syringe with needle, Episiotomy scissor, Artery forceps, Allis forceps, Sponge holding forceps, Toothed forceps, Thumb forceps, Kidney tray, Needle holder, Needle (round body and cutting), Chromic catgut no. 0, Gauze pieces, Cotton swabs, Antiseptic lotion, Gloves. | YES
Baby tray: Two pre-warmed towels/sheets for wrapping the baby (Baby should be received in a pre-warmed towel. Do not use metallic tray.), Mucus extractor, Bag and mask, Sterilized thread/cord clamp, Needle (26gauze) and syringe(1ml.), Inj. Vitamin K, Gloves. | YES
Medicine tray*: Inj. Oxytocin 10 IU (to be kept in fridge), Inj. Gentamicin, Inj.Vit K, Inj. Betamethason, Inj. Hydralazine, Cap Ampicillin 500 mg, Tab. Metronidazole 400 mg, Tab Paracetamol, Tab Ibuprofen, Tab B complex, Tab.Misoprostol 200 micrograms, Tab.Nifedipine, Tab.Methyldopa, IV fluids - Ringer lactate, Normal Saline, Magnifying glass. (*-Nevirapin and other HIV drugs only for ICTC and ART Centres) | YES
Emergency drug tray:** Inj. Oxytocin (to be kept in fridge), Inj. Magsulf 50%, Inj.Calcium gluconate-10%, Inj. Dexamethasone, Inj. Ampicillin, Inj. Gentamicin, Inj.Metronidazole, Inj. Lignocaine-2%, Inj. Adrenaline, Inj. Hydrocortisone Succinate, Inj.Diazepam, Inj. Pheneraminemaleate, Inj. Carboprost, Inj Pentazocin chloride, Inj. Promethazine, Inj.Betamethasone Inj.Hydralazine, IV fluids- Ringer lactate, normal saline, IV sets with 16-gauge needle at least two, IV Cannula, Vials for blood collection, Syringes and needles, Tab.Nifedipine, Tab.Methyldopa, Suction catheter, Mouth gag (** only for L2 & L3/BeMOC & CeMOC facilities) | 2 |  | 5
MVA/ EVA tray: Gloves, Speculum, Anterior vaginal wall retractor, Posterior vaginal wall retractor, Sponge holding forceps, MVA syringe and cannulas, MTP cannulas, Urinary catheter, Small bowl of antiseptic lotion, Sterilized gauze/pads, Cotton swabs, Disposable syringe and needle, Tab.misoprostol. | YES
PPIUCD tray***: PPIUCD Insertion Forceps, Sym's speculum, Ring forceps or sponge holding forceps, Cu IUCD 380A/ Cu IUCD 375 in a sterile package, Cotton swabs, Betadine solution. (*** – only for L3/DHs facilities with PPIUCD trained provider) | YES
Equipment and accessories for NBCC
Baby tray | YES
Pediatric stethoscope (preferable to have a neonatal stethoscope) | 0 | 0 | 10
Baby scale | 1 | 0
Radiant warmer | 2 | 0
Self-inflating bag and mask–neonatal size (0 and 1) | 1 | 0
Oxygen hood (neonatal) | 2 | 0
Laryngoscope and Endotracheal intubation tubes* | YES | 2 | 2
Two set of pencil batteries | YES
Mucus extractor with suction tube and a foot-operated suction machine NG tubes | YES |  | 2
Blankets | YES
Two clean and dry towels | YES
Feeding tubes | YES
Empty vials for collecting blood | YES
Alcohol handrub | YES
HLD/sterile gloves | YES
Syringe hub cutter. | 1 | 0
Equipment List for Special Newborn Care Unit (SNCU)
General Equipment for SNCU
Electronic weighing scale | 0 | 1 | 1
Infantometer | 0 | 0 | 1
Emergency drugs trolley | 0 | 0 | 1
Procedure trolley | 0 | 0 | 1
Wall clock with seconds hand | 0 | 0 | 1
Refrigerator | 0 | 0 | 1
Spot lamp | 0 | 0 | 1
Portable x-ray machine | 0 | 0 | 1
Basic surgical instruments e.g. fine scissors, scalpel with blades, fine artery forceps, suture material & needles, towel, clips etc. 1 set per bed (essential) | 0 | 0 | 1
Nebulizer 1 for the unit | 0 | 0 | 1
Multi-channel monitor with non-invasive BP monitor (3 size: 0, 1,2-disposable in plenty-reusable neonatal probe, at least 4) | 1 |  | 2
Room Thermometer 4 (essential) | 0 | 0 | 10
Equipment for disinfection of Special Newborn Care Unit
Item Requirement for the unit
Electric heater/boiler 2 (essential)
Washing machine with dryer (separate) 1 (essential)
Electronic fumigator 2 (essential)
Vacuum Cleaner 1 (essential)
Gowns for doctors, nurses, neonatal aides, Group D staff & mothers Adequate number of each size (essential)
Washable slippers Adequate number of each size (essential)
Vertical Autoclave 1 (essential)
Autoclave drums (large & medium & small sizes) At least 6 of each size (essential)
Disinfectant Sprayer 1 (essential)
Container for liquid disinfectant 2 (essential)
Formalin Vaporizer 1 (essential)
Hot Air Oven 1 (desirable)
Ethylene oxide (ETO) Sterilizer 1 (desirable)
Equipment for individual patient care in the Special Newborn Care Unit
Item Requirement for the unit
Servo-controlled Radiant Warmer 1 for each bed (essential) + 2
Low-Reading Digital Thermometer (centigrade scale) 1 for each bed (essential)
Neonatal Stethoscope 1 for each bed (essential) + 2
Neonatal Resuscitation Kit (Laerdal type, Silicone, Autoclavable 240 ml, 450 ml resuscitation bag with valves- including pressure release valve), oxygen reservoir & silicone round cushion masks – sizes 0 & 00), Neonatal laryngoscope with straight blade and spare bulbs) 1 set for each bed (essential) + 2
Suction Machine 1 for each beds (essential) (80% should be electrically operated & 20% foot operated)
Oxygen Hood (unbreakable-neonatal/infant size) 1 for each bed (essential) 20% extra (in case of repair/disinfection)
Non stretchable measuring tape (mm scale) 1 for each bed (essential)
Infusion pump or syringe pump 1 for every 2 beds (essential)
Pulse Oxymeter 1 for every 2 beds (essential)
Double Outlet Oxygen Concentrator 1 for every 3 beds (essential)
Double Sided Blue Light Phototherapy 1 for every 3 beds
Central AC (8 air exchange per hour ) For the SNCU, Step-down Unit & SCBU
Generator (15 KVA) 1
Flux meter 1 (Desirable)
CFL Phototherapy 1 for every 3 beds (essential)
Horizontal Laminar Flow 1 (essential)
Window AC (1.5)/Split AC Laboratory & Teaching & Training room (essential)
Doctor’s room (desirable)
Disposables
These items should be regularly supplied to the SNCU, if necessary by changing policy:
Cord clamp
Dee Lee’s Mucus Trap
Neoflon (intravenous catheter) 24G
Micro drip set with & without burette
Blood Transfusion Set
3 way stop cock
Suction Catheter size # 10, 12 Fr
Endotracheal Tube size # 2.5, 3, 3.5 mm
Feeding Tube size # 5, 6, 7 Fr
Syringes: Tuberculin- 1, 2, 5, 10, 50 cc with needle nos. 22, 24, 26
Sterile gloves & drapes
Chemical disinfectants: Cidex, Bacillocid, Liquid soap & detergent, Sterilium, Savlon, Phenol, Lysol, Betadine and Rectified Spirit
Glucostix and multistix strips (in container)
Capillary Tubes for microhaematocrit (in containers)
Cotton, surgical gauze
Normal saline, 10% Dextrose infusion bottle
V. Immunization Equipment
ILR & DF with Stabilizer ILR 2, & DF 2 for purpose of routine immunization and in Labour room * | YES
Spare ice pack box one from each equipment | YES
Room Heater/Cooler for immunization clinic with electrical fittings | YES
Waste disposal twin bucket, hypochlorite solution/bleach 2 per ILR bimonthly | YES
Freeze Tag Need Based | YES
Thermometers Alcohol (stem) 2 | YES
Almirah for Vaccine logistics 2 | YES
Almirah for vaccine logistics 1 | YES
Immunization table 5 | YES
Chair for new staff proposed 3 | NO
Stools for immunization room 2 | YES
Bench for waiting area 1 | YES
Dustbin with lid one from each equipment | YES
Water container 1 | YES
Hub cutters 2 | YES
5 KVA Generator with POL for immunization purpose 1 (If hospital has other Generator for general purpose this is not needed.) | YES
VI. Dental Equipment
Dental Unit complete with following facilities:
Dental Chair motorized with panel and foot controlled with up and down movement. | 1 | 1
Air Rotor | 2 | 0
Compressor oil free medical grade (noise-free) | 1 | 1
Ultrasonic Scalar with four tips. | 2 |  | 1
Suction fitted in the dental chair medium and high vacuum. | 0 | 2 | 1
Air rotor hand piece contra angle two and one straight hand piece (4 lakhs RPM). | 0 | 0
LED light cure unit. | 1 | 0
Latest foot operated light of 20,000 and 25,000/- Lux. | 0 | 0
Air motor terminal with hand piece. | 0 | 0
Dental X-ray IOP/OPG X-ray viewer with LED light. | 0 | 1
Doctors’ Stool. | 2
Medical Emergency tray. | 0 | 0
Dental Instruments
All types of dental extraction forceps (each set 3 sets- minimum required which includes upper and lower molars and anterior forceps. | 1 | 0
Elevators (Dental) all types (3 sets each). | 1 | 0 | 1
Apexo | 1 | 0 | 1
Bonefile | 1 | 0
Bone cutter forceps one. | 1 | 0
Chisel and hammer-one each. | 1 | 0
Periosteal elevator-3 Nos. | 1 | 0
Artery forceps-three each. | 1 | 0 | 1
Needle holder- three. | 1 | 0
20 PMT sets (mouth mirror, probe dental and tweezer). | 1 | 0 | 1
Excavators. | 2 | 0
Filling instruments. | 1 | 0
Micromotor with straight and contra angle hand piece. | 0 | 0 | 1
Minor Surgical Instruments. | 1 | 0
Perio Surgical Instrument-One Complete Set. | 0 | 0 | 1
Endodontic Instruments. | 1 |  | 1
Hands Scaler Set Blopsy. | 0 | 0
Pulp Tester. | 0 | 0
Trays For Complete/Partlal Edentulous Patients For Making Of Complete/partial Dentures Of Different Sizes. | 0 | 0 | 1
Sterilizer
Autoclave small front loading-one | 0 | 0 | 1
Boiler (sterilizer) – One | 0 | 0 | 1
Dressing drum | 1 | 0 | 1
Executive Chair Revolving | 0 | 0 | 1
Chair metal for office use | 1
Office table | 1
Recovery room with one bed and oxygen cylinder with trolley and gas. | 0 | 0
Trolley and wheel chair for patients | 0 | 0
Wall clock | 0 | 0
Dental I.O.P. X-ray machine with X-ray developing facilities. | 0 | 1 | 1
Chairs for waiting patients-20. | 1
VII. Operation Theatre Equipment
Name of the Equipment
Auto Clave HP Horizontal | 0
Auto Clave HP Vertical (2 bin) | 1 | 0
Operation Table Ordinary Paediatric* | 0
Operation Table Hydraulic Major | 1 |  | 1
Operation table Hydraulic Minor | 0
Operating table non-hydraulic field type | 1 | 0
Operating table Orthopedic* | 0 |  | 1
Autoclave with Burners 2 bin* | 0
Autoclave vertical single bin | 1 |  | 1
Shadowless lamp ceiling type major* | 0
Shadowless lamp ceiling type minor* | 1 |  | 1
Shadowless Lamp stand model | 0
Focus lamp Ordinary | 0
Sterilizer (Big instruments) | 0
Sterilizer (Medium instruments) | 1
Sterilizer (Small instruments) | 2
Bowl Sterilizer Big | 0
Bowl Sterilizer Medium | 0
Diathermy Machine (Electric Cautery) | 1
Suction Apparatus - Electrical | 1 |  | 1
Suction Apparatus - Foot operated | 1 |  | 1
Dehumidifier* | 0
Ultra violet lamp philips model 4 feet | 0
Ethylene Oxide sterilizer* | 0
Microwave sterilizer* | 0 | 0 | 1
Intense Pulse Light Machine | 0 | 0
Ultrasonic cutting and coagulation device | 0 | 0 | 1
Plasma Sterilizer | 0
Ultrasonic cleaner | 0
VIII. Laboratory Equipment
Name of the Equipment
Binocular Microscope | 1 | 0
Chemical Balances | 0
Simple balances | 0
Electric Calorimeter | 0
Fully Automated Auto-analyser | 1
Semi auto analyser | 0 | 2 | 1
Micro pipettes of different volumes | 5 | 0
Water bath | 0 | 1 | 1
Hot Air oven | 1 | 0
Lab Incubator | 1 | 0
Distilled water Plant | 0 | 0 | 1
Electricentrifuge, table top | 2 | 0 | 2
Cell Counter Electronic | 0 | 0 | 1
Hot plates | 0
Rotor/Shaker | 0
Counting chamber | 2 | 0
PH meter | 0
Paediatric Glucometer/Bilirubinometer | 0
Glucometer | 0
Haemoglobinometer | 2 | 0
TCDC count apparatus | 0
ESR stand with tubes | 2 | 0
Test tube stands | 4 | 0
Test tube rack | 4 | 0
Test tube holders | 4 | 0
Spirit lamp | 2 | 0
Rotatry Microtome | 0
Wax Embel Bath | 0
Auto Embedic Station | 0
Timer stop watch | 4 | 0
Alarm clock | 0
Elisa Reader cum washer | 0
Blood gas analyser | 0
Electrolyte Analyser | 0 | 1 | 1
Glycosylated Haemoglobinometer | 0 | 0 | 1
Blood Bank Refrigerator | 1 | 2 | 1
Haematology Analyser with 22 parameters | 0 | 1 | 1
Blood Collection Monitor | 0
Laboratory Autoclaves | 0
Blood Bank Refrigerator | 1 | 0
Ordinary Refrigerator | 3 | 0
Floatation Bath | 0 | 0
Emergency Drug Trolley with auto cylinder | 0
Dialected Tube Scaler | 0
Class – I Bio Safety Cabinet | 0 |  | 1
Knife Sharpner | 0 |  | 1
Air Conditioner with Stabilizer | 0 |  | 1
Cyto Spin | 0
RO Plant | 0 |  | 1
Computer with UPS and Printer | 0 |  | 1
Automatic Blood Gas Analyzer | 0 |  | 1
Fine Needle Aspiration Cytology | YES
Histopathology Equipment | 0
** Pipette – 1 ml & 5 ml Burette 10 ml Conical Flask Biker/Glass bottles Glass or plastic funnel Glass stirring rod Small stainless steel bowl Electronic weighing scale Measuring cylinder Gas Burner Laboratory balance Stop watch, Cyclomixer Micro pipette 10-100 ml :10-200 ml Micro Tips Centrifuge, Oven Bath Serological Digital calorie meter Stirrer with stainless steel stirring rod Digital electronic temperature controller | 0
*** i. Ion – meter Table Top (specific for fluoride estimation in biological fluid) | 0
ii. Table Top Centrifuge without refrigeration | 2 | 0
iii. Digital PH Meter | 0
iv. Metaler Balance | 0
v. Mixer | 0
vi. Incubator | 0
vii. Pipettes/Micropipettes | 4 | 0
CO Analyser | 0
Dry Biochemistry | 0
Whole Blood Finger Prick HIV Rapid Test and STI Screening Test each | YES
Blood Component Separator | 0
Platelet Agitator | 0
Platelet Thawing Machine | 0
Laminar Flow | 0
IX Surgical Equipment Sets
Name of the Equipment
MTP Set (Including Suction Cannula size 6-12) | YES |  | 2
Biopsy Cervical Set* | YES |  | 1
Microscope (Gynae for wet smear and PCT ) | YES
D&C Set | YES |  | 1
I.U.C.D. Kit | YES |  | 1
LSCS set | YES |  | 1
MVA Kit | YES |  | 1
Vaginal Hysterectomy | YES |  | 2
Proctoscopy Set* | YES |  | 1
P.V. Tray* | YES
Abdominal Hysterectomy set | YES |  | 1
Laparotomy Set | YES |  | 1
Formaline dispenser | YES |  | 1
Kick Bucket | YES
General Surgical Instrument Set Piles, Fistula, Fissure* | YES
Knee hammer | YES
Gynaec Electric Cautery | YES |  | 1
Vaginal Examination set* | YES |  | 1
Suturing Set* | YES |  | 10
MTP suction apparatus | YES |  | 1
Paediatric Surgery Set | 0
L. P. Tray* | YES
Haemodialysis Machine* | 0
Minilap sets | YES
NSV sets | YES
Cryoprobe | 0
X. Anaesthesia Equipment
Name of the Equipment
Anesthetic - laryngoscope magills with four blades | 1 | 2 | 2
Endo tracheal tubes sets | 0 |  | 50
Magills forceps (two sizes) | 0 |  | 5
Connector set of six for ETT | 0
Tubes connecting for ETT | 1 | 1 | 2
Air way female* | 0 |  | 3
Air way male* | 0 |  | 3
Mouth prop* | 0
Tongue depressors* | 1 |  | 2
O2 cylyinder for Boyles | 2 |  | 2
N2O Cylinder for Boyles | 2 |  | 2
CO2 cylinder for laparoscope* | 0 |  | 1
PFT machine | 0
Anaesthesia machine with ventilator (desirable)/Boyles Apparatus with Fluotec and circle absorber | 0 |  | 1
Multi-parameter monitor | 1 |  | 2
Pipe line supply of Oxygen, Nitrous Oxide, Compressed Air and suction (desirable) | 0
Defibrillators | 0 |  | 2
Infusion pumps* | 0 |  | 2
Regional anaesthesia devices* | 0
O2 therapy devices* | 0
Exchange Transfusion Sets* | 0
Recovery Area
O2 therapy devices* | 0
Pipe line supply of Oxygen and Suction (desirable) | 0
Monitor* | 1 |  | 2
Patient trolley* | 1 |  | 2
XI. Linen
Name of the Equipment
Bedsheets | YES
Bedspreads | YES
Blankets Red and blue | YES
Patna towels | YES
Table cloth | YES
Draw sheet | YES
Doctor’s overcoat | YES
Hospital worker OT coat | YES
Patients house coat (for female) | YES
Patients Pyjama (for male) Shirt | YES
Over shoes pairs | YES
Pillows | YES
Pillows covers | YES
Mattress (foam) Adult | YES
Paediatric Mattress | NO
Abdominal sheets for OT | YES
Pereneal sheets for OT | YES
Leggings | YES
Curtain cloth windows and doors | YES
Uniform/Apron | YES
Mortuary sheet | YES
Mats (Nylon) | YES
Mackin tosh sheet (in meters) | YES
Apron for cook | YES
XII . Refrigeration & AC
Name of the Equipment
Refrigerator 165 litres | 6 | 0
Waste disposal twin bucket, hypochlorite solution/bleach | YES
Thermometers Alcohol (stem) | 10 | 0
Almirah for Vaccine logistics | YES
Immunization table | YES
Chair for new staff proposed | YES
Stools for immunization room | YES
Bench for waiting area | YES
Dustbin with lid | YES
Water container | YES
Hub cutters | 2 | 0
5 KVA Generator with POL for immunization purpose | YES
XIII. Hospital Plants
Name of the Equipment
Generator 40/50 KV | 0
Generator 75 KV | 0
Generator 125 KV | 1 | 0
Portable 2.5 KV | 0
Solar Water heater* | 1 | 0
Incinerator* | 0
Central supply of 02, N20, Vacuum* | 0
XIV. Furniture & Hospital Accessories
Dressing Trolley (SS) | YES |  | 2
Medicine Trolley (SS) | YES |  | 2
Instrument Trolley (SS) | YES |  | 2
Instrument Trolley Mayos (SS) | YES
Wheel Chair (SS) | YES |  | 2
Stretcher/Patience Trolley (SS) | YES |  | 2
Instrument Tray (SS) Assorted | YES |  | 2
Kidney Tray (SS) - Assorted | YES |  | 2
Delivery Table (SS Full) | YES
O2 Cylinder Trolley (SS) | YES |  | 5
Saline Stand (SS) | YES |  | 25
Waste Disposal - Bin/drums | YES |  | 20
Waste Disposal - Trolley (SS) | YES |  | 5
Ambu bags | YES |  | 5
O2 Cylinder with spanner ward type | YES |  | 5
Cheatles forceps assortted* | YES
Emergency Resuscitation Kit-Adult* | YES |  | 5
Infrastructure | Nos. Available
| Functional | Non Functional | Requirement/Proposed
No. Rooms Available/Existing | 150
Toilets | 20
Conditions of the Infrastructure
Water Reservoire/Overhead tanks for water supply | 6 |  | 2
Any other Remarks/Comments