## Sheet2
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for Sub Centre, 2019
Identification Details
| District: | DIMAPUR
| Block: | NIULAND
| Village: | SUHOI (4 village)
| Name of Sub Centre: | SUHOI SC
| Date of Data Collection | Day | Month | Year
|  | 6 | 1 | 2022
HR Training/Capacity building
| Name of the Training | Training Status
|  | ANM 1 |  | ANM 2 |  | PHARMACIST
|  | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
| a. Maternal Health | 1 |  | 1 |  | 1
| 1) SBA |  | 1 |  | 0 |  | NO
| 2) MTP/MVA |  | No |  | No |  | no
| 3) RTI/STI |  | 1 |  | 0 |  | no
| 4) IMEP |  | 1 |  | 0 |  | yes
| 5) HIV AIDS & Syphilis |  | 1 |  | 1 |  | no
b. Child Health
| 1) NSSK |  | no |  | no |  | no
| 2) IYCF |  | no |  | no |  | no
| 3) IMNCI |  | no |  | no |  | no
| 4) RBSK |  | no |  | no |  | no
| 5) Immunization |  | 1 |  | 1 |  | no
| 6) HBYC |  | no |  | no |  | no
| c. Family Planning | [5 empty] | no
| 1) IUCD |  | no |  | 0 |  | no
| 2) LAP STER. |  | no |  | no |  | no
| 3) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives) |  | no |  | 0 |  | no
| 4) ARSH/RKSK |  | no |  | no |  | no
| d. National Vector Borne Disease Control Programme (NVBDCP) |  | 1 |  | 1 |  | no
| e. Revised National Tuberculosis Control Programme (RNTCP) |  | 1 |  | 1 |  | no
| f. National Leprosy Elimination Programme (NLEP) |  | 1 |  | 0 |  | no
| g. Integrated Disease Surveillance Project (IDSP) |  | 1 |  | 1 |  | no
| h. National Programme for Control of Blindness (NPCB) |  | no |  | no |  | no
| i. National Iodine Deficiency Disease Control Programme (NIDDCP) |  | 1 |  | 1 |  | no
| j. National AIDS Control Programme (NACP) |  | 1 |  | 0 |  | no
| k. Non-Communicable Diseases (NCD) |  | 1 |  | 1 |  | no
Any other (Specify)
Equipments
Sl. No. | Item | Nos. Available
|  | Functional | Non Functional | Requirement/ Proposed (in Numbers)
1 | Basin 825 ml. ss (Stainless Steel) Ref. IS 3992 | 0 | 0 | 1
2 | Basin deep (capacity 6 litre) ss Ref: IS: 5764 with Stand | 0 | 0 | 1
3 | Tray instrument/Dressing with cover 310 x 195x63mm SS, Ref IS:3993 | 3 | 0 | 0
4 | Kidney tray (Big) | 1 | 0 | 1
5 | Kidney tray (Small) | 2 | 0 | 1
6 | Sterilizer | 1 | 0 | 0
7 | Dressing Drum with cover 0.945 liters stainless steel | 1 | 0 | 0
8 | Surgical Scissors straight 140 mm, ss | 1 | 0 | 0
9 | Kelly’s hemostat Forceps straight 140 mm ss | 2 | 0 | 0
10 | Vulsellum Uterine Forceps curved 25.5 cm | 0 | 0 | 1
11 | Cusco’s/Graves Speculum vaginal bi-valve medium | 0 | 0 | 1
12 | Sims retractor/depressor | 0 | 0 | 1
13 | Sims Speculum vaginal double ended ISS Medium | 0 | 0 | 0
14 | Uterine Sound Graduated | 0 | 0 | 0
15 | Cheatle’s Forcep | 1 | 0 | 0
16 | Sponge holder | 1 | 0 | 0
17 | Plain Forceps | 1 | 0 | 0
18 | Tooth Forceps | 1 | 0 | 0
19 | Needle Holder | 1 | 0 | 0
20 | Suture needle straight | 0 | 0 | 0
21 | Suture needle curved | 0 | 0 | 0
22 | Artery Forceps, straight, 160mm Stainless steel | 1 | 0 | 0
23 | Dressing Forceps (spring type), 160mm, stainless steel | 0 | 0 | 1
24 | Cord cutting Scissors, Blunt, curved on flat, 160 mm ss | 1 | 0 | 0
25 | Clinical Thermometer (oral) | 1 | 0 | 0
26 | Clinical Thermometer (rectal) | 0 | 0 | 0
27 | Sphygmomanometer with cuff | 1 | 0 | 0
28 | Stethoscope | 1 | 0 | 0
29 | Foetoscope | 1 | 0 | 0
30 | Hub Cutter and Needle Destroyer | 1 | 0 | 0
31 | Ambu Bag (Paediatric size) with Baby mask | 0 | 0 | 0
32 | Radiant warmer | 0 | 0 | 0
33 | Suction Machine (Foot) | 0 | 0 | 0
34 | Suction Machine (Electric) | 0 | 0 | 0
35 | Oxygen Cylinder (Both Small & Large) | 0 | 0 | 0
36 | Oxygen Flowmeter set | 0 | 0 | 0
37 | Oxygen catheter | 0 | 0 | 0
38 | Tracking Bag and Tickler Box (Immunization) | 0 | 0 | 1
39 | Measuring Tape | 1 | 0 | 0
40 | I/V Stand | 0 | 0 | 1
41 | Vaccine Carrier | 0 | 0 | 2
42 | Ice pack box | 0 | 0 | 0
43 | Hemoglobinometer – set Sahli type complete | 0 | 0 | 0
44 | Talquist Hb scale (Color Scale) | 0 | 0 | 0
45 | Weighing Scale, Adult 125 kg/280 lb | 1 | 0 | 0
46 | Weighing Scale, Infant (10 Kg) | 0 | 0 | 1
47 | Weighing Scale, (baby) hanging type, 5 kg | 0 | 0 | 1
48 | Labour table* | 0 | 0 | 1
Sundry Articles
Item
1 | McIntosh/Rubber/Plastic sheet | 0 | 0 | 1
2 | Kelly’s pad for labour table | 0 | 0 | 1
Sl.No. | Infrastructure | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed
1 | No. Rooms Available/Existing | 1 | 0 | the health unit is presently functioning in a community building with only one room, land for health unit has been donated by goanbora vihoshe(140/170)therefore they have proposed for government building
2 | Toilets | 0 | 0 | the health unit is functioning without even a single toilet
3 | Conditions of the Infrastructure | 1 | 0 | functioning in just one room,conditoin nood bad average
4 | Water Reservoire/Overhead tanks for water supply | 0 | 0 | need overhead tank facility once government building is approved
5 | Any other Remarks/Comments