GAP ANALYSIS OF HEALTH SUBCENTRE (SC)

### Identification

State.........Nagaland District .......Kohima Block ......Tseminyu Name and location of the SC…Ehunnu Number of villages catered by the SC........2 Population covered by the SC......472 Average monthly OPD ......45 Average monthly delivery load -0-1 Name and distance from nearest Primary Health Centre (PHC)......Chunlikha-20KM Name, designation and mobile no. of the assessor.........Hinyule Tep ANM. 9612622712/ 6009343196 Date of Gap Assessment 28 / 11 / 2019

- Human Resources

| Sl | Staff | Name of health worker | Staff currently in position at the SC? | Type of appointment of the staff in this position | Staff trained in SBA | Staff trained in IMNCI/NSSK | Staff trained in RI | Staff trained in ANMOL | Staff trained on ASHA module 6 & 7 | Staff trained in NCD screening | Any other trainings (please specify) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | ANM | HINYULE TEP | Yes | Permanent | Yes | No | Yes | No | - | Yes |  |
|  | Additional ANM | 0 | No | Permanent/Contractual | No | No | No | No | - | No |  |
|  | Multipurpose Health Worker (Male) | 0 | No | Permanent/Contractual | - | No | No | - | - | No |  |
|  | ASHA | - MUNENYA - SENENLE | NO |  |  |  | Yes Yes |  | Yes Yes | Yes Yes |  |

- Infrastructure

| Sl | Questions | Response | Remarks |
| --- | --- | --- | --- |
|  | Is the SC functioning in building owned by Government? | Yes |  |
| 1.1 | If yes, Type of SC (Type A-providing recommended service, Type B- Intranatal services in addition to recommended services) | Type A |  |
| 1.2 | Total constructed area available (in sq. ft.) | 384 sq. ft |  |
|  | What are the working hours of the SC | 12 |  |
|  | Whether the SC has a proper approach road? | Yes |  |
|  | Whether the SC has a proper boundary wall? | No |  |
|  | Whether the SC has a provision of ramp for use of wheel chair/stretcher? | No |  |
|  | Whether SC building needs repair and renovation? | Yes |  |
|  | If yes, type of renovation required? (Give details in the remarks column) | Major | Flooring and painting of the building |
|  | Does the SC has provision of electricity (24X7) along with lights and fans? | No |  |
|  | Is there any provision of generator/invertor connection for power backup at the SC? | No |  |
|  | Does the SC has separate male and female toilet facility for patients? | No |  |
|  | Does the SC has separate male and female toilet facility for staff? | No |  |
|  | Does the SC has provision of water supply (24X7)? | No |  |
|  | Does the SC has provision of safe drinking water? | Yes |  |
|  | What is the source of water supply in this SC? |  |  |
|  | - Tap Water | Yes |  |
|  | - Hand Pump | No |  |
|  | - Well | No |  |
|  | - Bore Well | No |  |
|  | - Others, please specify |  |  |
|  | Does SC has a separate room for OPD services/consultation? | Yes |  |
|  | Is there an ear marked waiting area/hall available for patients?? | No |  |
|  | Is there a separate labour room in the SC? | No |  |
|  | Is there a functional focused lamp available in the labor room? | No |  |
|  | Is there 24X7 electricity backup available in the labor room? | No |  |
|  | Does the labour room has piped water supply (24X7)? | No |  |
|  | Does the SC has functional newborn care corner? | No |  |
|  | Number of additional rooms available other than labour room, OPD/consultation room and waiting hall/ area | Yes |  |
|  | No. of beds available for patient admission (Specially for delivery points) |  |  |
|  | Does the SC has facility for staff accommodation? | No |  |
| 24.1 | If yes, then is it being used? |  |  |
|  | Does the SC has access to ambulance services for transporting patients during emergency? | No |  |
|  | What is the mechanism for waste disposal? |  |  |
|  | - Burn in Pit | Yes |  |
|  | - Bury in a Pit | Yes |  |
|  | - Thrown in Common/Public Disposal Pit | Yes |  |
|  | - Outsourced | No |  |
|  | - Thrown in Premises | No |  |
|  | - Others, please specify |  |  |
|  | Kindly provide the list of services being provided by the SC (Give details in the remarks column) |  | Health checkup, ANC, PNC,Child Immunisation, NCD,VHND,Blood test |
|  | Kindly provide list of laboratory tests being provided by the SC? |  | Pregnancy Test, Urine Test, Blood suger test,Haemoglobin, RDT. |

- IT readiness, IEC and others

| Sl | IT readiness, IEC and others | Available | Remarks |
| --- | --- | --- | --- |
|  | Internet connectivity | No |  |
|  | Type of IT support-Smart Phones with MPWs/ASHAs/Tablet | No |  |
|  | Training undertaken for frontline staff on use of IT based systems | No |  |
|  | IEC Display | Yes |  |
|  | Citizen charter | Yes |  |
|  | Suggestion/ complaint box | Yes |  |
|  | List of registers being maintained at the SC (Give details in the remarks column) |  | Stock, visitor, Attendance, Cash Book, Meeting Register, VHND Register, Death Register, |
|  | Kindly mention the date of the recent household survey |  |  |
|  | Any Other information |  |  |

- Clinical Materials, Tools and Equipment

| Sl | Clinical Material, tools and equipment | Number of items available | Number of items functional | Sl | Clinical Material, tools and equipment | Number of items available | Number of items functional |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Basin 825 ml. SS (Stainless Steel) Ref. IS 3992 | 0 | 0 |  | Foetoscope | 5 | 5 |
|  | Basin deep (capacity 6 litre) ss Ref: IS: 5764 with Stand | 0 | 0 |  | Hub Cutter and Needle Destroyer | 1 | 1 |
|  | Tray instrument/Dressing with cover 310 x 195x63mm SS, Ref IS: 3993 | 3 | 3 |  | Ambu Bag (Paediatric size) with Baby mask | 0 | 0 |
|  | Flashlight/Torch Box-type pre-focused (4 cell) | 0 | 0 |  | Suction Machine | 0 | 0 |
|  | Torch (ordinary) | 0 | 0 |  | Oxygen Administration Equipment | 0 | 0 |
|  | Dressing Drum with cover 0.945 litres stainless steel | 1 | 1 |  | Tracking Bag and Tickler Box (Immunization) | 1 | 1 |
|  | Hemoglobinometer –Sahli’s type complete | 0 | 0 |  | Measuring Tape | 0 | 0 |
|  | Weighing Scale, Adult 125 kg/280 lb | 1 | 1 |  | I/V Stand | 1 | 1 |
|  | Weighing Scale, Infant (10 Kg) | 1 | 1 |  | Artery Forceps-Curved | 0 | 0 |
|  | Weighing Scale, (baby) hanging type, 5 kg | 0 | 0 |  | BP Apparatus (Digital) | 0 | 0 |
|  | Sterilizer | 1 | 1 |  | Dental Probe | 0 | 0 |
|  | Surgical Scissors straight 140 mm, ss | 5 | 5 |  | Digital Thermometer | 0 | 0 |
|  | Sphygmomanometer Aneroid 300 mm with cuff IS: 7652 | 0 | 0 |  | Examination Lamp | 0 | 0 |
|  | Kelly’s haemostat Forceps straight 140 mm ss | 0 | 0 |  | Tongue Depressor | 0 | 0 |
|  | Vulsellum Uterine Forceps curved 25.5 cm | 0 | 0 |  | Weighing Scale Adult (Digital) | 0 | 0 |
|  | Cusco’s/Graves Speculum vaginal bi-valve small, | 0 | 0 |  | Oxygen Cylinder with trolley | 0 | 0 |
|  | Cusco’s/Graves Speculum vaginal bi-valve medium | 0 | 0 |  | Mouth Gag | 0 | 0 |
|  | Cusco’s/Graves Speculum vaginal bi-valve large | 0 | 0 |  | Mouth Mirror | 0 | 0 |
|  | Sims retractor/depressor | 0 | 0 |  | Snellen vision chart | 0 | 0 |
|  | Sims Speculum vaginal double ended ISS Medium | 0 | 0 |  | Near vision chart | 0 | 0 |
|  | Uterine Sound Graduated | 0 | 0 |  | Stadiometer | 0 | 0 |
|  | Cheatle’s Forceps | 5 | 5 |  | Nebulizer | 0 | 0 |
|  | Vaccine Carrier | 0 | 0 |  | Gauze Cutting Scissors Straight | 5 | 5 |
|  | Ice pack box | 0 | 0 |  | Episiotomy Scissors | 0 | 0 |
|  | Sponge holder | 5 | 5 |  | Kits for testing residual chlorine in drinking water | 0 | 0 |
|  | Plain Forceps | 5 | 5 |  | Tuning fork | 0 | 0 |
|  | Tooth Forceps | 5 | 5 |  | Nasal Speculum (St. Claire’s) | 0 | 0 |
|  | Needle Holder | 5 | 5 |  | App and headphones for App-based Audiometry | 0 | 0 |
|  | Suture needle straight -10 | 0 | 0 |  | Ear Speculum – metallic, dull finish | 0 | 0 |
|  | Suture needle curved | 0 | 0 |  | Jobson-Horne probe | 0 | 0 |
|  | Kidney tray | 5 | 5 |  | Eustachian Catheter | 0 | 0 |
|  | Artery Forceps, straight, 160mm Stainless steel | 5 | 5 |  | Rapid Diagnostic Kit | 1 | 1 |
|  | Dressing Forceps (spring type), 160 mm, stainless steel | 0 | 0 |  | Digital Scope for oral, nasal and throat examination with Digital Tablet | 0 | 0 |
|  | Cord cutting Scissors, Blunt, curved on flat, 160 mm ss | 5 | 5 |  | Slit lamp biomicroscope | 0 | 0 |
|  | Clinical Thermometer oral & rectal | 5 | 5 |  | Applanation tonometer | 0 | 0 |
|  | Talquist Hb scale | 0 | 0 |  | Spirometer | 0 | 0 |
|  | Stethoscope | 1 | 1 |  | Digital Scope for oral, nasal and throat examination with Digital Tablet | 0 | 0 |

- Linen, Consumables and Miscellaneous Items

| Sl | Linen/ Consumables/ Miscellaneous | Available | Number of items available | Sl | Linen/Consumable/Miscellaneous | Available | Number of items available |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Syringe (10 cc, 5 cc, 2 cc) and AD Syringes (0.5 ml and 0.1 ml) for immunization | Yes |  |  | Online UPS 1 KVA with 60 minute backup | No |  |
|  | Disposable gloves | Yes |  |  | Fire Extinguisher | No |  |
|  | Mucus extractor | No |  |  | Buckets Big (Plastic) | No |  |
|  | Disposable Cord clamp | No |  |  | Buckets Small (Plastic) | No |  |
|  | Disposable Sterile Urethral Catheter (rubber plain 12 fr) | No |  |  | Dust bins-Blue | No |  |
|  | Foley’s catheter (Adult) | No |  |  | Dust Bins – Red | No |  |
|  | Dry cell/Battery | No |  |  | Dust Bins – Yellow | No |  |
|  | Disposable lancet (Pricking needles) | No |  |  | Dust Bins- Black | No |  |
|  | Disposable Sterile Swabs | No |  |  | Black Disposal bags | No |  |
|  | Routine Immunization Monitoring Chart | No |  |  | Red Disposal Bags | No |  |
|  | Blank Immunization Cards/Joint MCH Card (one per pregnant mother) and Tally Sheets (one per immunization session) | No |  |  | Yellow Disposal Bags | No |  |
|  | Partograph charts | No |  |  | Blue Disposal Bags | No |  |
|  | IV canula and Intravenous set | Yes |  |  | Hand Towels | Yes |  |
|  | Interdental cleaning aids | No |  |  | Bed Sheet for Examination Tables | Yes |  |
|  | Chlorine tablets | No |  |  | Cleaning material, detergent | No |  |
|  | Sanitary napkins | No |  |  | Insecticide treated nets | No |  |
|  | 200-watt Bulb (2) | No |  |  | Micropore Tapes | No |  |
|  | Salt – Iodine test kit | No |  |  | Condom Catheters | No |  |
|  | Mackintosh Sheets – 5 metres | No |  |  | Urine Bags | No |  |
|  | Wooden spatula | No |  |  | Feeding Tubes | No |  |
|  | Suture Material | No |  |  | Nicotine Patches | No |  |

- Furniture and Fixtures

| Sl | Furniture and Fixture | Number of items available | Number of items functional | Sl | Furniture and Fixture | Number of items available | Number of items functional |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Chairs for patient waiting area | 0 | 0 |  | Screen Separators with stand | 0 | 0 |
|  | Foot Step | 0 | 0 |  | Steel Almirah / Cupboard/storage chests | 1 | 1 |
|  | Office Chair | 6 | 6 |  | Stool for attendants | 1 | 1 |
|  | Office Table | 1 | 1 |  |  |  |  |

- Lab – Diagnostic Materials and Reagents for screening

| Sl | Lab – Diagnostic Materials and Reagents | Number of items available | Number of items functional | Sl | Lab – Diagnostic Materials and Reagents | Number of items available | Number of items functional |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Glucometer | 1 | 1 |  | Rapid Pregnancy Testing Kit | 0 | 0 |
|  | Glucometer Testing Strips | 10 | 10 |  | Rapid Test Kit for Dengue | 0 | 0. |
|  | Slide drying rack | 0 | 0 |  | N/10 Hydrochloric Acid | 0 | 0 |
|  | Specimen collection bottle | 0 | 0 |  | Reagents such as Hydrochloric acid, acetic acid, Benedict’s solution, Bleaching powder, Hypochlorite solution, Methylated spirit etc. | 0 | 0 |
|  | Spirit lamp | 0 | 0 |  | Acetic Acid Solution | 0 | 0 |
|  | Test tube holding clamp | 0 | 0 |  | Micropippette | 0 | 0 |
|  | Test tube rack | 0 | 0 |  | Yellow Tips for Micropipette | 0 | 0 |
|  | Test tubes |  |  |  | Dipsticks for urine test for protein and sugar (1 container of 25 strips) | 0 | 0 |
|  | Glass rods | 0 | 0 |  | Whole Blood Finger Prick HIV Rapid Test and STI Screening Test each | 0 | 0 |
|  | Glass Slide box of 25 slides | 1 | 1 |  | H2S strips test bottles for water testing | 0 | 0 |

- Drugs(As per state EDL/ Operational Guidelines for CPHC)

| Sl | Drugs | Dosage type | Availability | Sl | Drugs | Dosage type | Availability |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Oxygen | Inhalation (Medicinal gas) | No |  | Domperidone | Tablet 10 mg | No |
|  | Lignocaine | Topical forms 2-5% | No |  | Dicyclomine | Tablet 10 mg | No |
|  | Diclofenac | Tablet 50 mg | Yes |  | Oral rehydration salts | As licensed | Yes |
|  |  | Injection 25 mg/ml | Yes |  | Zinc sulphate | Dispersible Tablet 20 mg | No |
|  | Paracetamol | Tablet 500 mg | Yes |  | Ethinylestradiol(A) + Norethisterone | Tablet 0.035 mg (A) + 1 mg (B) | No |
|  |  | Tablet 650 mg | No |  | Hormone releasing IUD | Contains 52 mg of Levonorgestrel | No |
|  |  | All licensed oral liquid dosage forms and strengths | No |  | IUD containing Copper | As licensed | No |
|  | Cetrizine | Tablet 10 mg | No |  | Condom | As per the standards prescribed in Schedule R of Drugs and Cosmetics rules, 1945 | No |
|  | Chlorpheniramine | Tablet 4 mg | No |  | Ethinylestradiol | Tablet 0.01 mg | No |
|  |  | Oral liquid 2 mg/5 ml | No |  |  | Tablet 0.05 mg | No |
|  | Albendazole | Tablet 400 mg | Yes |  | Levonorgestrel | Tablet 0.75 mg | No |
|  | Diethylcarbamazin (Antifilarial) | Tablet 50 mg | No |  | Ciprofloxacin | Drops 0.3 % | No |
|  |  | Tablet 100 mg | No |  |  | Ointment 0.3% | No |
|  | Ciprofloxacin | Tablet 250 mg | No |  | Methylergometrine | Tablet 0.125 mg | No |
|  |  | Tablet 500 mg | No |  | Misoprostol | Tablet 100 mcg | No |
|  | Gentamicin | Injection 10 mg/ml | No |  | Water for Injection | Injection | No |
|  |  | Injection 40 smg/ml | No |  | Ascorbic acid(Vitamin C) | Tablet 100 mg | No |
|  | Metronidazole | Tablet 200 mg | No |  | Cholecalciferol | Tablet 1000 IU, | No |
|  |  | Tablet 400 mg | No |  |  | Tablet 60000 IU | No |
|  | Amoxicillin | Capsule 250 mg | No |  |  | Oral liquid 400 IU/ml | No |
|  |  | Capsule 500 mg | No |  | Vitamin A | Capsule 5000 IU | No |
|  |  | Oral liquid 250 mg/5 ml | No |  |  | Capsule 50000 IU | No |
|  | Fluconazole | Tablet 100 mg | No |  |  | Capsule 100000 IU | No |
|  | Chloroquine | Tab 150 mg | No |  |  | Oral liquid 100000 IU/ml | No |
|  | Primaquine | Tablet 2.5 mg | No |  | Phytomenadione(Vitamin K1) | Injection 10 mg/ml | No |
|  |  | Tablet 7.5 mg | No |  | Activated charcoal | Powder (as licensed) | No |
|  |  | Tablet 15 mg | No |  | Atropine | Injection 1 mg/ml | No |
|  | Artesunate (A) + Sulphadoxine – Pyrimethamine (B). Combi pack (A+B) | 1 Tablet 25 mg (A) + 1 Tablet (250 mg + 12.5 mg) (B) | No |  | Snake venom antiserum | Injection | No |
|  |  | 1 Tablet 50 mg (A) + 1 Tablet(500 mg + 25 mg) (B) | No |  | Lyophilized polyvalent | Powder for Injection | No |
|  |  | 1 Tablet 100 mg (A) + 1 Tablet(750 mg + 37.5 mg) (B) | No |  | Pralidoxime chloride (2-PAM) | Injection 25 mg/ml | No |
|  |  | 1 Tablet 150 mg (A) + 2 Tablet(500 mg + 25 mg) (B) | No |  | Acetylsalicylic Acid | Tablet 300 mg to 500 mg | No |
|  |  | 1 Tablet 200 mg (A) + 2 Tablet(750 mg + 37.5 mg) (B) | No |  |  | Effervescent/ Dispersible/ Enteric coated Tablet 300 mg to 500 mg | No |
|  | Ferrous salts | Tablet equivalent to 60 mg of elemental iron | No |  | Ibuprofen | Tablet 200 mg | No |
|  |  | Oral liquid equivalent to 25 mg of elemental iron/ml | No |  |  | Tablet 400 mg | No |
|  | Ferrous salt (A) + Folic acid (B) | Tablet 45mg elemental iron (A) +400 mcg (B) | No |  |  | Oral liquid 100 mg/5 ml | No |
|  |  | Tablet 100 mg elemental iron (A) + 500 mcg (B) | No |  | Mefenamic acid | Capsule 250 mg | No |
|  |  | Oral liquid 20 mg elemental iron(A) + 100 mcg (B)/ml | No |  |  | Capsule 500 mg | No |
|  | Folic acid | Tablet 5 mg | No |  | Ciprofloxacin | Drops 0.3 % | No |
|  | Clotrimazole | Cream 1% | No |  | Clotrimazole | Drops 1% | No |
|  | Methylrosanilinium chloride(Gentian Violet) | Topical preparation 0.25% to 2% | No |  | Normal Saline nasal drops : sodium chloride | Drops 05%w/v | No |
|  | Povidone iodine | Solution 4% to 10% | Yes |  | Xylometazoline nasal drops | pediatric( 0.05%), adult(.1%) | No |
|  | Silver sulphadiazine | Cream 1 | No |  | Wax-solvent ear drops : benzocaine, chlorbutol, paradichlorobenzene, turpentine oil |  | No |
|  | Framycetin | Cream 0.5% | No |  | Boro-spirit ear drops | 0.183gm boric acid in 2.08 ml of alcohol | No |
|  | Ethyl alcohol(Denatured) | Solution 70% | No |  | Combo ear drops | (Chloramphenicol (5%w/v) + Clotrimazole (1%)+ Lignocaine hydrochloride (2% ) | No |
|  | Hydrogen peroxide | Solution 6% | No |  | Liquid paraffin – menthol drops | (Menthol 10gm+Eucalyptus 2ml+Camphor 10gm+Liquid paraffin to 100ml) | No |
|  | Methylrosanilinium chloride(Gentian Violet) | Topical preparation 0.25% to 2% | No |  | Potassium permanganate | Crystals for topical solution | No |
|  | Povidone iodine | Solution 4% to 10% | Yes / |  | Inj. Adrenaline |  | No |
|  | Bleaching powder | Containing not less than 30% w/w of available chlorine (as per I.P) | No |  | Inj. Hydrocortisone |  | No |
|  | Potassium permanganate | Crystals for topical solution | No |  | Inj. Dexamethasone |  | No |
|  | Ranitidine | Tablet 150 mg | No |  | Glyceryl trinitrate- Sublingual tablet 0.5 mg |  | No |

- Drugs for Non – communicable diseases (As per state EDL/ Operational Guidelines for CPHC)

| Sl | Drugs | Dosage type | Availability | Sl | Drugs | Dosage type | Availability |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Amlodipine | Tablet 2.5 mg | No |  | Premix Insulin30:70 Injection(Regular:NPH) | Injection 40 IU/ml | No |
|  |  | Tablet 5 mg | No |  | Metformin | Tablet 500 mg | No |
|  |  | Tablet 10 mg | No |  |  | Tablet 750 mg | No |
|  | Atenolol | Tablet 50 mg | No |  |  | Tablet 1000 mg | No |
|  |  | Tablet 100 mg | No |  | Carbamazepine | Tablet 100 mg | No |
|  | Enalapril | Tablet 2.5 mg | No |  | Diazepam | Oral liquid 2 mg/5 ml | No |
|  |  | Tablet 5 mg | No |  | Phenobarbitone | Tablet 30 mg Tablet 60 mg | No |
|  | Propanalol | Tablet 40 mg | No |  |  | Oral liquid 20 mg/5 ml | No |
|  |  | Tablet 80 mg | No |  | Phenytoin | Tablet 50 mg | No |
|  |  | Tablet 10 mg | No |  |  | Tablet 100 mg | No |
|  | Isosorbide dinitrate | Tablet 5 mg | No |  |  | Tablet 300 mg | No |
|  |  | Tablet 10 mg | No |  |  | ER Tablet 300 mg | No |
|  | Clopidogrel | Tablet 75 mg | No |  |  | Injection 25 mg/ml | No |
|  | Furosemide | Tablet 40 mg | No |  |  | Injection 50 mg/ml | No |
|  |  | Oral liquid 10 mg/ml | No |  | Sodium valproate | Tablet 200 mg | No |
|  | Hydrochlorothiazide | Tablet 25 mg | No |  |  | Tablet 500 mg | No |
|  | Spironolactone | Tablet 25 mg | No |  | Salbutamol | Tablet 2 mg | No |
|  |  | Tablet 50 mg | No |  |  | Tablet 4 mg | No |
|  | Glimepiride | Tablet 1 mg | No |  |  | Oral liquid 2 mg/5 ml | No |
|  |  | Tablet 2 mg | No |  |  | Respirator solution for use in nebulizer 5mg/ml | No |
|  | Insulin (Soluble) | Injection 40 IU/ml | No |  |  | Inhalation (MDI/DPI) 100 mcg/dose | No |
|  | Intermediate Acting (NPH) Insulin | Injection 40 IU/ml | No |  |  |  |  |

- Any other Comments: