## LONGWA
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for Sub Centre, 2020
Identification Details
| District: | Mon
| Block: | Phomching
| Village: | Longwa village
| Name of Sub Centre: | Longwa SC-HWC
| Date of Data Collection | Day | Month | Year
|  | 30 | 9 | 2020
HR Training/Capacity building
| Name of the Training | Training Status
|  | ANM 1 |  | ANM 2 |  | PHARMACIST
|  | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
| a. Maternal Health | 1 |  | 1
1) SBA
2) MTP/MVA
3) RTI/STI
4) IMEP
| 5) HIV AIDS & Syphilis |  | 1 |  | 1
b. Child Health
1) NSSK
2) IYCF
3) IMNCI
4) RBSK
| 5) Immunization |  | 1 |  | 1
6) HBYC
c. Family Planning
1) IUCD
2) LAP STER.
3) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives)
4) ARSH/RKSK
| d. National Vector Borne Disease Control Programme (NVBDCP) |  | 1 |  | 1
| e. Revised National Tuberculosis Control Programme (RNTCP) |  |  |  | 1
f. National Leprosy Elimination Programme (NLEP)
| g. Integrated Disease Surveillance Project (IDSP) |  | 1 |  | 1
h. National Programme for Control of Blindness (NPCB)
i. National Iodine Deficiency Disease Control Programme (NIDDCP)
| j. National AIDS Control Programme (NACP) |  | 1 |  | 1
| k. Non-Communicable Diseases (NCD) |  | 1 |  | 1
Any other (Specify)
Equipments
Sl. No. | Item | Nos. Available
|  | Functional | Non Functional | Requirement/ Proposed (in Numbers)
1 | Basin 825 ml. ss (Stainless Steel) Ref. IS 3992 | 1 |  | 1
2 | Basin deep (capacity 6 litre) ss Ref: IS: 5764 with Stand |  |  | 1
3 | Tray instrument/Dressing with cover 310 x 195x63mm SS, Ref IS:3993 | 4
4 | Kidney tray (Big) | 2
5 | Kidney tray (Small) | 4
6 | Sterilizer | 2 | 1
7 | Dressing Drum with cover 0.945 liters stainless steel | 3
8 | Surgical Scissors straight 140 mm, ss | 1
9 | Kelly’s hemostat Forceps straight 140 mm ss | 2
10 | Vulsellum Uterine Forceps curved 25.5 cm | 1
11 | Cusco’s/Graves Speculum vaginal bi-valve medium | 0
12 | Sims retractor/depressor | 0
13 | Sims Speculum vaginal double ended ISS Medium | 2
14 | Uterine Sound Graduated | 0 |  | 1
15 | Cheatle’s Forcep | 2
16 | Sponge holder | 1
17 | Plain Forceps | 1
18 | Tooth Forceps | 0
19 | Needle Holder | 3
20 | Suture needle straight | 2
21 | Suture needle curved | 0
22 | Artery Forceps, straight, 160mm Stainless steel | 4
23 | Dressing Forceps (spring type), 160mm, stainless steel | 0
24 | Cord cutting Scissors, Blunt, curved on flat, 160 mm ss | 1
25 | Clinical Thermometer (oral) | 1 |  | 1
26 | Clinical Thermometer (rectal) | 0
27 | Sphygmomanometer with cuff | 1
28 | Stethoscope | 1
29 | Foetoscope | 2
30 | Hub Cutter and Needle Destroyer | 2
31 | Ambu Bag (Paediatric size) with Baby mask | 1
32 | Radiant warmer | 0 |  | 1
33 | Suction Machine (Foot) | 0 | 1 | 1
34 | Suction Machine (Electric) | 0
35 | Oxygen Cylinder (Both Small & Large) | 0 |  | 1
36 | Oxygen Flowmeter set | 0 |  | 1
37 | Oxygen catheter | 0 |  | 1
38 | Tracking Bag and Tickler Box (Immunization)
39 | Measuring Tape | 1
40 | I/V Stand | 4
41 | Vaccine Carrier | 1
42 | Ice pack box
43 | Hemoglobinometer – set Sahli type complete | 0 |  | 1
44 | Talquist Hb scale (Color Scale) | 1
45 | Weighing Scale, Adult 125 kg/280 lb | 1
46 | Weighing Scale, Infant (10 Kg) | 1
47 | Weighing Scale, (baby) hanging type, 5 kg | 0
48 | Labour table* | 1
Sundry Articles
Item
1 | McIntosh/Rubber/Plastic sheet | 1 |  | 1
2 | Kelly’s pad for labour table | 0 |  | 1
Sl.No. | Infrastructure | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed
1 | No. Rooms Available/Existing | 3 |  | room extension and washroom for patient
2 | Toilets | 1
3 | Conditions of the Infrastructure
4 | Water Reservoire/Overhead tanks for water supply |  | 1
5 | Any other Remarks/Comments

## S.TANGTEN
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for Sub Centre, 2020
Identification Details
| District: | MON
| Block: | PHOMCHING
| Village: | S/TANGTEN
| Name of Sub Centre: | S/TANGTEN
| Date of Data Collection | Day | Month | Year
|  | 30 | 9 | 2020
HR Training/Capacity building
| Name of the Training | Training Status
|  | ANM 1 |  | ANM 2 |  | PHARMACIST
|  | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
| a. Maternal Health | 1
1) SBA
2) MTP/MVA
3) RTI/STI
4) IMEP
| 5) HIV AIDS & Syphilis |  | 1
b. Child Health
1) NSSK
2) IYCF
3) IMNCI
4) RBSK
| 5) Immunization |  | 1
6) HBYC
c. Family Planning
1) IUCD
2) LAP STER.
3) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives)
4) ARSH/RKSK
| d. National Vector Borne Disease Control Programme (NVBDCP) |  | 1
| e. Revised National Tuberculosis Control Programme (RNTCP) |  | 1
f. National Leprosy Elimination Programme (NLEP)
| g. Integrated Disease Surveillance Project (IDSP) |  | 1
h. National Programme for Control of Blindness (NPCB)
i. National Iodine Deficiency Disease Control Programme (NIDDCP)
| j. National AIDS Control Programme (NACP) |  | 1
| k. Non-Communicable Diseases (NCD) |  | 1
Any other (Specify)
Equipments
Sl. No. | Item | Nos. Available
|  | Functional | Non Functional | Requirement/ Proposed (in Numbers)
1 | Basin 825 ml. ss (Stainless Steel) Ref. IS 3992 | 0 | 0
2 | Basin deep (capacity 6 litre) ss Ref: IS: 5764 with Stand | 0 | 0
3 | Tray instrument/Dressing with cover 310 x 195x63mm SS, Ref IS:3993 | 3 | 0
4 | Kidney tray (Big) | 2 | 0
5 | Kidney tray (Small) | 3 | 0
6 | Sterilizer | 3 | 0
7 | Dressing Drum with cover 0.945 liters stainless steel | 3 | 0
8 | Surgical Scissors straight 140 mm, ss | 1 | 0
9 | Kelly’s hemostat Forceps straight 140 mm ss | 0 | 0
10 | Vulsellum Uterine Forceps curved 25.5 cm | 0 | 0
11 | Cusco’s/Graves Speculum vaginal bi-valve medium | 0 | 0
12 | Sims retractor/depressor | 3 | 0
13 | Sims Speculum vaginal double ended ISS Medium | 3 | 0
14 | Uterine Sound Graduated | 0 | 0
15 | Cheatle’s Forcep | 2 | 0
16 | Sponge holder | 2 | 0
17 | Plain Forceps | 3 | 0
18 | Tooth Forceps | 2 | 0
19 | Needle Holder | 3 | 0
20 | Suture needle straight | 2 | 0
21 | Suture needle curved | 1 | 0
22 | Artery Forceps, straight, 160mm Stainless steel | 2 | 0
23 | Dressing Forceps (spring type), 160mm, stainless steel | 0 | 0
24 | Cord cutting Scissors, Blunt, curved on flat, 160 mm ss | 1 | 0
25 | Clinical Thermometer (oral) | 0 | 3
26 | Clinical Thermometer (rectal) | 0 | 3
27 | Sphygmomanometer with cuff | 1 | 0
28 | Stethoscope | 2 | 0
29 | Foetoscope | 3 | 0
30 | Hub Cutter and Needle Destroyer | 1 | 0
31 | Ambu Bag (Paediatric size) with Baby mask | 3 | 0
32 | Radiant warmer | 0 | 0
33 | Suction Machine (Foot) | 0 | 1
34 | Suction Machine (Electric) | 0 | 0
35 | Oxygen Cylinder (Both Small & Large) | 0 | 0
36 | Oxygen Flowmeter set | 0 | 0
37 | Oxygen catheter | 0 | 0
38 | Tracking Bag and Tickler Box (Immunization) | 0 | 0
39 | Measuring Tape | 0 | 0
40 | I/V Stand | 3 | 0
41 | Vaccine Carrier | 0 | 0
42 | Ice pack box | 0 | 0
43 | Hemoglobinometer – set Sahli type complete | 1 | 0
44 | Talquist Hb scale (Color Scale) | 0 | 0
45 | Weighing Scale, Adult 125 kg/280 lb | 3 | 0
46 | Weighing Scale, Infant (10 Kg) | 3 | 0
47 | Weighing Scale, (baby) hanging type, 5 kg | 0 | 0
48 | Labour table* | 0 | 0
Sundry Articles
Item
1 | McIntosh/Rubber/Plastic sheet | 1 | 0
2 | Kelly’s pad for labour table | 0 | 0
Sl.No. | Infrastructure | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed
1 | No. Rooms Available/Existing | 3 | 0
2 | Toilets | 1 | 0
3 | Conditions of the Infrastructure
4 | Water Reservoire/Overhead tanks for water supply | 0 | 1
5 | Any other Remarks/Comments

## S.WAMSA
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for Sub Centre, 2020
Identification Details
| District: | Mon
| Block: | Pomching
| Village: | Sheanghah Wamsa
| Name of Sub Centre: | Sheanghah Wamsa
| Date of Data Collection | Day | Month | Year
|  | 25 | 10 | 2020
HR Training/Capacity building
| Name of the Training | Training Status
|  | ANM 1 |  | ANM 2 |  | PHARMACIST
|  | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
a. Maternal Health
| 1) SBA | 1
2) MTP/MVA
3) RTI/STI
4) IMEP
| 5) HIV AIDS & Syphilis |  | 1
b. Child Health
1) NSSK
2) IYCF
3) IMNCI
4) RBSK
| 5) Immunization |  | 1
6) HBYC
c. Family Planning
1) IUCD
2) LAP STER.
3) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives)
4) ARSH/RKSK
| d. National Vector Borne Disease Control Programme (NVBDCP) |  | 1
| e. Revised National Tuberculosis Control Programme (RNTCP) |  | 1
f. National Leprosy Elimination Programme (NLEP)
| g. Integrated Disease Surveillance Project (IDSP) |  | 1
h. National Programme for Control of Blindness (NPCB)
i. National Iodine Deficiency Disease Control Programme (NIDDCP)
| j. National AIDS Control Programme (NACP) |  | 1
| k. Non-Communicable Diseases (NCD) |  | 1
Any other (Specify)
Equipments
Sl. No. | Item | Nos. Available
|  | Functional | Non Functional | Requirement/ Proposed (in Numbers)
1 | Basin 825 ml. ss (Stainless Steel) Ref. IS 3992 | 0 | 0 | 1
2 | Basin deep (capacity 6 litre) ss Ref: IS: 5764 with Stand | 0 | 0 | 1
3 | Tray instrument/Dressing with cover 310 x 195x63mm SS, Ref IS:3993 | 3 | 0 | 0
4 | Kidney tray (Big) | 2 | 0 | 0
5 | Kidney tray (Small) | 3 | 0 | 0
6 | Sterilizer | 3 | 0 | 0
7 | Dressing Drum with cover 0.945 liters stainless steel | 3 | 0 | 0
8 | Surgical Scissors straight 140 mm, ss | 1 | 0 | 1
9 | Kelly’s hemostat Forceps straight 140 mm ss | 0 | 0 | 1
10 | Vulsellum Uterine Forceps curved 25.5 cm | 0 | 0 | 1
11 | Cusco’s/Graves Speculum vaginal bi-valve medium | 0 |  | 1
12 | Sims retractor/depressor | 3 | 0 | 0
13 | Sims Speculum vaginal double ended ISS Medium | 3 | 0 | 0
14 | Uterine Sound Graduated | 0 | 0 | 2
15 | Cheatle’s Forcep | 1 | 0 | 0
16 | Sponge holder | 2 | 0 | 0
17 | Plain Forceps | 2 | 0 | 0
18 | Tooth Forceps | 2 | 0 | 0
19 | Needle Holder | 2 | 0 | 1
20 | Suture needle straight | 1 | 0 | 1
21 | Suture needle curved | 1 | 0 | 1
22 | Artery Forceps, straight, 160mm Stainless steel | 2 | 0 | 0
23 | Dressing Forceps (spring type), 160mm, stainless steel | 0 | 0 | 1
24 | Cord cutting Scissors, Blunt, curved on flat, 160 mm ss | 1 | 0 | 0
25 | Clinical Thermometer (oral) | 3 | 1 | 0
26 | Clinical Thermometer (rectal) | 0 | 0 | 1
27 | Sphygmomanometer with cuff | 1 | 0 | 1
28 | Stethoscope | 1 | 0 | 1
29 | Foetoscope | 2 | 0 | 0
30 | Hub Cutter and Needle Destroyer | 3 | 0 | 0
31 | Ambu Bag (Paediatric size) with Baby mask | 3 | 0 | 0
32 | Radiant warmer | 0 | 0 | 1
33 | Suction Machine (Foot) | 0 | 0 | 1
34 | Suction Machine (Electric) | 0 | 0 | 0
35 | Oxygen Cylinder (Both Small & Large) | 0 | 0 | 0
36 | Oxygen Flowmeter set | 0 | 0 | 0
37 | Oxygen catheter | 0 | 0 | 0
38 | Tracking Bag and Tickler Box (Immunization) | 0 | 0 | 0
39 | Measuring Tape | 0 | 0 | 1
40 | I/V Stand | 1 | 0 | 2
41 | Vaccine Carrier | 0 | 0 | 1
42 | Ice pack box | 0 | 0 | 1
43 | Hemoglobinometer – set Sahli type complete | 0 | 0 | 1
44 | Talquist Hb scale (Color Scale) | 0 | 0 | 2
45 | Weighing Scale, Adult 125 kg/280 lb | 0 | 0 | 1
46 | Weighing Scale, Infant (10 Kg) | 3 | 0 | 0
47 | Weighing Scale, (baby) hanging type, 5 kg | 0 | 0 | 0
48 | Labour table* | 0 | 0 | 1
Sundry Articles
Item
1 | McIntosh/Rubber/Plastic sheet | 1 | 0 | 1
2 | Kelly’s pad for labour table | 0 | 0 | 1
Sl.No. | Infrastructure | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed
1 | No. Rooms Available/Existing | 3 | 0
2 | Toilets | 1 | 0 | 1
3 | Conditions of the Infrastructure
4 | Water Reservoire/Overhead tanks for water supply | 0 | 1 | 0
5 | Any other Remarks/Comments

## S.CHINGNYU
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for Sub Centre, 20020
Identification Details
| District: | MON
| Block: | PHOMCHING
| Village: | S.CHINGNYU
| Name of Sub Centre: | S.CHINGNYU
| Date of Data Collection | Day | Month | Year
|  | 25 | 9 | 2020
HR Training/Capacity building
| Name of the Training | Training Status
|  | ANM 1 |  | ANM 2 |  | PHARMACIST
|  | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
1
| a. Maternal Health |  | 1
1) SBA
5) MTP/MVA
3) RTI/STI
4) IMEP
| 5) HIV AIDS & Syphilis |  | 1
b. Child Health
1) NSSK
2) IYCF
3) IMNCI
4) RBSK
| 5) Immunization |  | 1
6) HBYC
c. Family Planning
| 1) IUCD |  | 1
2) LAP STER.
3) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives)
4) ARSH/RKSK
| d. National Vector Borne Disease Control Programme (NVBDCP) |  | 1
| e. Revised National Tuberculosis Control Programme (RNTCP) |  | 1
f. National Leprosy Elimination Programme (NLEP)
| g. Integrated Disease Surveillance Project (IDSP) |  | 1
h. National Programme for Control of Blindness (NPCB)
i. National Iodine Deficiency Disease Control Programme (NIDDCP)
| j. National AIDS Control Programme (NACP) |  | 1
| k. Non-Communicable Diseases (NCD) |  | 1
Any other (Specify)
Equipment
Sl. No. | Item | Nos. Available
|  | Functional | Non Functional | Requirement/ Proposed (in Numbers)
1 | Basin 825 ml. ss (Stainless Steel) Ref. IS 3992 | 1 |  | 1
2 | Basin deep (capacity 6 litre) ss Ref: IS: 5764 with Stand |  |  | 1
3 | Tray instrument/Dressing with cover 310 x 195x63mm SS, Ref IS:3993 |  |  | 1
4 | Kidney tray (Big) | 1 |  | 1
5 | Kidney tray (Small) | 4
6 | Sterilizer | 2 | 2 | 1
7 | Dressing Drum with cover 0.945 liters stainless steel | 3
8 | Surgical Scissors straight 140 mm, ss | 1 |  | 1
9 | Kelly’s hemostat Forceps straight 140 mm ss
10 | Vulsellum Uterine Forceps curved 25.5 cm |  |  | 1
11 | Cusco’s/Graves Speculum vaginal bi-valve medium
12 | Sims retractor/depressor
13 | Sims Speculum vaginal double ended ISS Medium | 1 |  | 1
14 | Uterine Sound Graduated |  |  | 1
15 | Cheatle’s Forcep | 2
16 | Sponge holder | 2
17 | Plain Forceps | 1
18 | Tooth Forceps | 1
19 | Needle Holder | 3
20 | Suture needle straight | 1
21 | Suture needle curved | 1
22 | Artery Forceps, straight, 160mm Stainless steel | 2 |  | 2
23 | Dressing Forceps (spring type), 160mm, stainless steel
24 | Cord cutting Scissors, Blunt, curved on flat, 160 mm ss | 2
25 | Clinical Thermometer (oral) | 3
26 | Clinical Thermometer (rectal) | 0
27 | Sphygmomanometer with cuff | 1
28 | Stethoscope | 4
29 | Foetoscope | 2
30 | Hub Cutter and Needle Destroyer | 1
31 | Ambu Bag (Paediatric size) with Baby mask | 2
32 | Radiant warmer |  |  | 1
33 | Suction Machine (Foot) | 1 | 1 | 2
34 | Suction Machine (Electric)
35 | Oxygen Cylinder (Both Small & Large)
36 | Oxygen Flowmeter set
37 | Oxygen catheter
38 | Tracking Bag and Tickler Box (Immunization) | 1
39 | Measuring Tape | 1
40 | I/V Stand | 3 |  | 1
41 | Vaccine Carrier | 1
42 | Ice pack box
43 | Hemoglobinometer – set Sahli type complete | 1
44 | Talquist Hb scale (Color Scale) | 1
45 | Weighing Scale, Adult 125 kg/280 lb | 2
46 | Weighing Scale, Infant (10 Kg) | 2
47 | Weighing Scale, (baby) hanging type, 5 kg |  |  | 1
48 | Labour table* | 1
Sundry Articles
Item
1 | McIntosh/Rubber/Plastic sheet | 2 |  | 2
2 | Kelly’s pad for labour table
Sl.No. | Infrastructure | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed
1 | No. Rooms Available/Existing | 4
2 | Toilets | 2
3 | Conditions of the Infrastructure | GOOD
4 | Water Reservoire/Overhead tanks for water supply |  |  | 1
5 | Any other Remarks/Comments

## S.MOKOK
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for Sub Centre, 2020
Identification Details
| District: | MON
| Block: | PHOMCHING
| Village: | S.MOKOK
| Name of Sub Centre: | S.MOKOK
| Date of Data Collection | Day | Month | Year
|  | 25 | 9 | 2020
HR Training/Capacity building
| Name of the Training | Training Status
|  | ANM 1 |  | ANM 2 |  | PHARMACIST
|  | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
1
a. Maternal Health
1) SBA
5) MTP/MVA
3) RTI/STI
4) IMEP
| 5) HIV AIDS & Syphilis |  | 1
b. Child Health
1) NSSK
2) IYCF
3) IMNCI
4) RBSK
| 5) Immunization |  | 1
6) HBYC
c. Family Planning
| 1) IUCD |  | 1
2) LAP STER.
3) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives)
4) ARSH/RKSK
| d. National Vector Borne Disease Control Programme (NVBDCP) |  | 1
| e. Revised National Tuberculosis Control Programme (RNTCP) |  | 1
f. National Leprosy Elimination Programme (NLEP)
| g. Integrated Disease Surveillance Project (IDSP) |  | 1
h. National Programme for Control of Blindness (NPCB)
i. National Iodine Deficiency Disease Control Programme (NIDDCP)
| j. National AIDS Control Programme (NACP) |  | 1
| k.Non Communicable Disease(NCD) |  | 1
Any other (Specify)
Equipment
Sl. No. | Item | Nos. Available
|  | Functional | Non Functional | Requirement/ Proposed (in Numbers)
1 | Basin 825 ml. ss (Stainless Steel) Ref. IS 3992 |  |  | 2
2 | Basin deep (capacity 6 litre) ss Ref: IS: 5764 with Stand |  |  | 1
3 | Tray instrument/Dressing with cover 310 x 195x63mm SS, Ref IS:3993 | 4
4 | Kidney tray (Big) | 2
5 | Kidney tray (Small) | 4
6 | Sterilizer | 1
7 | Dressing Drum with cover 0.945 liters stainless steel | 1 |  | 1
8 | Surgical Scissors straight 140 mm, ss | 1
9 | Kelly’s hemostat Forceps straight 140 mm ss | 0
10 | Vulsellum Uterine Forceps curved 25.5 cm |  |  | 1
11 | Cusco’s/Graves Speculum vaginal bi-valve medium |  |  | 1
12 | Sims retractor/depressor
13 | Sims Speculum vaginal double ended ISS Medium | 0
14 | Uterine Sound Graduated
15 | Cheatle’s Forcep | 1 | 1
16 | Sponge holder | 1 | 1
17 | Plain Forceps | 1 | 1
18 | Tooth Forceps
19 | Needle Holder | 1 | 1
20 | Suture needle straight | 1
21 | Suture needle curved | 1
22 | Artery Forceps, straight, 160mm Stainless steel | 2
23 | Dressing Forceps (spring type), 160mm, stainless steel |  |  | 1
24 | Cord cutting Scissors, Blunt, curved on flat, 160 mm ss | 1
25 | Clinical Thermometer (oral) | 1 | 1
26 | Clinical Thermometer (rectal) |  |  | 1
27 | Sphygmomanometer with cuff | 1
28 | Stethoscope | 1
29 | Foetoscope | 1
30 | Hub Cutter and Needle Destroyer | 1 | 1
31 | Ambu Bag (Paediatric size) with Baby mask
32 | Radiant warmer
33 | Suction Machine (Foot) |  |  | 1
34 | Suction Machine (Electric)
35 | Oxygen Cylinder (Both Small & Large)
36 | Oxygen Flowmeter set
37 | Oxygen catheter
38 | Tracking Bag and Tickler Box (Immunization) | 1
39 | Measuring Tape | 1 |  | 1
40 | I/V Stand
41 | Vaccine Carrier | 1
42 | Ice pack box
43 | Hemoglobinometer – set Sahli type complete | 1
44 | Talquist Hb scale (Color Scale)
45 | Weighing Scale, Adult 125 kg/280 lb | 1
46 | Weighing Scale, Infant (10 Kg)
47 | Weighing Scale, (baby) hanging type, 5 kg | 1
48 | Labour table*
Sundry Articles
Item
1 | McIntosh/Rubber/Plastic sheet |  |  | 1
2 | Kelly’s pad for labour table |  |  | 1
Sl.No. | Infrastructure | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed
1 | No. Rooms Available/Existing | 1 | 2 | 2
2 | Toilets |  |  | 1
3 | Conditions of the Infrastructure | POOR
4 | Water Reservoire/Overhead tanks for water supply |  |  | 1
5 | Any other Remarks/Comments | RENOVATION

## LONGSHEN
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for Sub Centre, 2020
Identification Details
| District: | MON
| Block: | PHOMCHING
| Village: | LONGSHEN
| Name of Sub Centre: | LONGSHEN
| Date of Data Collection | DAY | Month | Year
|  | 25 | 9 | 2020
HR Training/Capacity building
| Name of the Training | Training Status
|  | ANM 1 |  | ANM 2 |  | PHARMACIST
|  |  | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
1
a. Maternal Health
1) SBA
5) MTP/MVA
3) RTI/STI
4) IMEP
| 5) HIV AIDS & Syphilis |  | 1
b. Child Health
1) NSSK
2) IYCF
3) IMNCI
4) RBSK
| 5) Immunization |  | 1
6) HBYC
c. Family Planning
| 1) IUCD |  | 1
2) LAP STER.
3) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives)
4) ARSH/RKSK
| d. National Vector Borne Disease Control Programme (NVBDCP) |  | 1
| e. Revised National Tuberculosis Control Programme (RNTCP) |  | 1
f. National Leprosy Elimination Programme (NLEP)
| g. Integrated Disease Surveillance Project (IDSP) |  | 1
h. National Programme for Control of Blindness (NPCB)
i. National Iodine Deficiency Disease Control Programme (NIDDCP)
| j. National AIDS Control Programme (NACP) |  | 1
| k. Non-Communicable Diseases (NCD) |  | 1
Any other (Specify)
Equipment
Sl. No. | Item | Nos. Available
|  | Functional | Non Functional | Requirement/ Proposed (in Numbers)
1 | Basin 825 ml. ss (Stainless Steel) Ref. IS 3992 |  |  | 1
2 | Basin deep (capacity 6 litre) ss Ref: IS: 5764 with Stand |  |  | 1
3 | Tray instrument/Dressing with cover 310 x 195x63mm SS, Ref IS:3993 | 4 |  | 1
4 | Kidney tray (Big) | 1
5 | Kidney tray (Small) | 4
6 | Sterilizer | 2
7 | Dressing Drum with cover 0.945 liters stainless steel | 3 |  | 1
8 | Surgical Scissors straight 140 mm, ss | 3
9 | Kelly’s hemostat Forceps straight 140 mm ss |  |  | 1
10 | Vulsellum Uterine Forceps curved 25.5 cm |  |  | 1
11 | Cusco’s/Graves Speculum vaginal bi-valve medium |  |  | 1
12 | Sims retractor/depressor |  |  | 1
13 | Sims Speculum vaginal double ended ISS Medium | 1 |  | 1
14 | Uterine Sound Graduated |  |  | 1
15 | Cheatle’s Forcep | 2
16 | Sponge holder | 2
17 | Plain Forceps | 1
18 | Tooth Forceps | 1
19 | Needle Holder | 1
20 | Suture needle straight | 3
21 | Suture needle curved | 1
22 | Artery Forceps, straight, 160mm Stainless steel | 1
23 | Dressing Forceps (spring type), 160mm, stainless steel | 2
24 | Cord cutting Scissors, Blunt, curved on flat, 160 mm ss |  |  | 2
25 | Clinical Thermometer (oral) | 2 | 1
26 | Clinical Thermometer (rectal) | 3
27 | Sphygmomanometer with cuff |  |  | 1
28 | Stethoscope | 2
29 | Foetoscope | 2
30 | Hub Cutter and Needle Destroyer | 1
31 | Ambu Bag (Paediatric size) with Baby mask | 2
32 | Radiant warmer
33 | Suction Machine (Foot) | 1 | 1
34 | Suction Machine (Electric)
35 | Oxygen Cylinder (Both Small & Large)
36 | Oxygen Flowmeter set
37 | Oxygen catheter
38 | Tracking Bag and Tickler Box (Immunization) | 1
39 | Measuring Tape | 1
40 | I/V Stand | 3
41 | Vaccine Carrier | 1
42 | Ice pack box
43 | Hemoglobinometer – set Sahli type complete
44 | Talquist Hb scale (Color Scale)
45 | Weighing Scale, Adult 125 kg/280 lb | 2
46 | Weighing Scale, Infant (10 Kg) | 2
47 | Weighing Scale, (baby) hanging type, 5 kg
48 | Labour table* |  |  | 1
Sundry Articles
Item
1 | McIntosh/Rubber/Plastic sheet | 2 |  | 2
2 | Kelly’s pad for labour table
Sl.No. | Infrastructure | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed
1 | No. Rooms Available/Existing | 1 | 1 | 1
2 | Toilets | 0 | 0 | 1
3 | Conditions of the Infrastructure | POOR |  | 1
4 | Water Reservoire/Overhead tanks for water supply | 0 | 0 | 1
5 | Any other Remarks/Comments

## LONGZANG
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for Sub Centre, 2020
Identification Details
| District: | Mon
| Block: | Pomching
| Village: | Longzang
| Name of Sub Centre: | Longzang
| Date of Data Collection | Day | Month | Year
|  | 25 | 10 | 2020
HR Training/Capacity building
| Name of the Training | Training Status
|  | ANM 1 |  | ANM 2 |  | PHARMACIST
|  | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
| a. Maternal Health | 1
1) SBA
2) MTP/MVA
3) RTI/STI
4) IMEP
| 5) HIV AIDS & Syphilis |  | 1
b. Child Health
1) NSSK
2) IYCF
3) IMNCI
4) RBSK
| 5) Immunization |  | 1
6) HBYC
c. Family Planning
1) IUCD
2) LAP STER.
3) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives)
4) ARSH/RKSK
| d. National Vector Borne Disease Control Programme (NVBDCP) |  | 1
e. Revised National Tuberculosis Control Programme (RNTCP)
f. National Leprosy Elimination Programme (NLEP)
| g. Integrated Disease Surveillance Project (IDSP) |  | 1
h. National Programme for Control of Blindness (NPCB)
i. National Iodine Deficiency Disease Control Programme (NIDDCP)
| j. National AIDS Control Programme (NACP) |  | 1
| k. Non-Communicable Diseases (NCD) |  | 1
Any other (Specify)
Equipments
Sl. No. | Item | Nos. Available
|  | Functional | Non Functional | Requirement/ Proposed (in Numbers)
1 | Basin 825 ml. ss (Stainless Steel) Ref. IS 3992 | 0 |  | 1
2 | Basin deep (capacity 6 litre) ss Ref: IS: 5764 with Stand | 0 |  | 1
3 | Tray instrument/Dressing with cover 310 x 195x63mm SS, Ref IS:3993 | 2 |  | 0
4 | Kidney tray (Big) | 0 |  | 1
5 | Kidney tray (Small) | 2 |  | 0
6 | Sterilizer | 0 |  | 0
7 | Dressing Drum with cover 0.945 liters stainless steel | 2 |  | 0
8 | Surgical Scissors straight 140 mm, ss | 1 |  | 1
9 | Kelly’s hemostat Forceps straight 140 mm ss | 0 |  | 1
10 | Vulsellum Uterine Forceps curved 25.5 cm | 0 |  | 1
11 | Cusco’s/Graves Speculum vaginal bi-valve medium | 0 |  | 1
12 | Sims retractor/depressor | 1 |  | 0
13 | Sims Speculum vaginal double ended ISS Medium | 1 |  | 0
14 | Uterine Sound Graduated | 0 |  | 2
15 | Cheatle’s Forcep | 1 |  | 0
16 | Sponge holder | 1 |  | 0
17 | Plain Forceps | 1 |  | 0
18 | Tooth Forceps | 1 |  | 0
19 | Needle Holder | 1 |  | 0
20 | Suture needle straight | 1 |  | 0
21 | Suture needle curved | 1 |  | 0
22 | Artery Forceps, straight, 160mm Stainless steel | 1 |  | 0
23 | Dressing Forceps (spring type), 160mm, stainless steel | 0 |  | 1
24 | Cord cutting Scissors, Blunt, curved on flat, 160 mm ss | 1 |  | 0
25 | Clinical Thermometer (oral) | 1 |  | 0
26 | Clinical Thermometer (rectal) | 0 |  | 1
27 | Sphygmomanometer with cuff | 0 |  | 1
28 | Stethoscope | 0 |  | 1
29 | Foetoscope | 0 |  | 1
30 | Hub Cutter and Needle Destroyer | 1 |  | 0
31 | Ambu Bag (Paediatric size) with Baby mask | 0 |  | 1
32 | Radiant warmer | 0 |  | 0
33 | Suction Machine (Foot) | 0 |  | 1
34 | Suction Machine (Electric) | 0 |  | 0
35 | Oxygen Cylinder (Both Small & Large) | 0 |  | 0
36 | Oxygen Flowmeter set | 0 |  | 0
37 | Oxygen catheter | 0 |  | 0
38 | Tracking Bag and Tickler Box (Immunization) | 0 |  | 0
39 | Measuring Tape | 0 |  | 1
40 | I/V Stand | 0 |  | 1
41 | Vaccine Carrier | 1 |  | 0
42 | Ice pack box | 0 |  | 0
43 | Hemoglobinometer – set Sahli type complete | 0 |  | 1
44 | Talquist Hb scale (Color Scale) | 0 |  | 2
45 | Weighing Scale, Adult 125 kg/280 lb | 1 |  | 0
46 | Weighing Scale, Infant (10 Kg) | 0 |  | 1
47 | Weighing Scale, (baby) hanging type, 5 kg | 0 |  | 0
48 | Labour table* | 0 |  | 0
Sundry Articles
Item
1 | McIntosh/Rubber/Plastic sheet | 0 | 0 | 1
2 | Kelly’s pad for labour table | 0 | 0 | 1
Sl.No. | Infrastructure | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed
1 | No. Rooms Available/Existing | 4 | 0
2 | Toilets | 1 | 0 | 0
3 | Conditions of the Infrastructure | Average
4 | Water Reservoire/Overhead tanks for water supply | 0 | 0 | 1
5 | Any other Remarks/Comments