| Sl. No | Equipments for District Hospital Particulars | Present Status | Requirements |
| --- | --- | --- | --- |
| 1. | Pediatric Unit |  |  |
| 2. | Electronic Weighing Scale | 0 | 2 |
| 3. | Infusion Pump | 0 | 2 |
| 4. | Syringe Pump | 1 | 2 |
| 5. | Pulse Oxymeter | 1 | 4 |
| 6. | Bilirubinometer | 0 | 1 |
| 7. | Phototherapy Flux meter | 1 | 1 |
| 8. | Cardiopulmonary Monitor | 0 | 1 |
| Gynae Ward |  |  |  |
| 1. | Labour room lamp | 2 | 2 |
| 2. | Cryo therapy | 0 | 1 |
| 3. | Hysterectomy Set | 1 | 2 |
| 4. | MVA Set | 1 | 4 |
| 5. | PPIUCD set | 0 | 6 |
| 6. | Tubal laparoscopic set | 1 | 1 |
| 7. | Uterine manipulator | 0 | 2 |
| 8. | Vicryl 2346 | 50 | 200 |
| 9. | Vicryl 2347 | 50 | 200 |
| 10. | O.T Biowaste pin | 1 | 2 |
| 11. | Lifting Forcep | 4 | 10 |
| 12. | Caesarian Section set | 0 | 2 |
| 13. | Kelly’s Pad | - | 10 |
| 14. | Delivery apron | 5 | 20 |
| Dental Unit |  |  |  |
| 1. | Dental Chairs | 3 | 1 |
| 2. | Ultrasonic Scaler | 0 | 1 |
| 3. | RVG X-Ray | 0 | 1 |
| 4. | Airoter Straight Handpiece | 0 | 1 |
| 5. | Extraction Forcep set | 2 | 1 |
| 6. | Filling instrument set | 1 | 1 |
| Surgery Ward |  |  |  |
| 1. | Laparoscope 30 degrees | 0 | 1 |
| 2. | Laparoscore 0 degrees | 0 | 1 |
| 3. | Insufflator | 0 | 1 |
| 4. | Light source | 0 | 1 |
| 5. | Harmonic scalpel | 0 | 1 |
| 6. | LAP Recording system | 0 | 1 |
| 7. | Veress needle | 0 | 1 |
| 8. | Trocar with canula 10mm (round tip) | 0 | 1 |
| 9. | Trocar with canula 10mm (sharp tip) | 0 | 1 |
| 10. | Trocar with canula 5mm (round tip) | 0 | 3 |
| 11. | Reducer to 5mm | 0 | 3 |
| 12. | Reducer to 10mm | 0 | 2 |
| 13. | Maryland Dissector | 0 | 2 |
| 14. | Endoscope graper tooth | 0 | 2 |
| 15. | Endoscope graper nontooth | 0 | 2 |
| 16. | Endoscope scissor straight | 0 | 1 |
| 17. | Endoscope scissor curve | 0 | 1 |
| 18. | Lap needle holder | 0 | 1 |
| 19. | Ring applicator | 0 | 1 |
| 20. | Clip applicator | 0 | 1 |
| 21. | Grasper 5mm | 0 | 2 |
| 22. | Lap biopsy forcep | 0 | 1 |
| 23. | Lap suction tip | 0 | 1 |
| 24. | Lap aspiration needle | 0 | 1 |
| 25. | Endohook cautery tip | 0 | 1 |
| 26. | Endoprobe | 0 | 1 |
| 27. | Cautery rod | 0 | 1 |
| 28. | Suction irrigation tubing | 0 | 1 |
| 29. | Monitor | 0 | 1 |
| Orthopaedic Unit |  |  |  |
| 1. | C-arm x-ray machine |  | 1 |
| 2. | Bone drill and saw (preferably Stryker channel-VII but its expensive) Manman drill and saw | 0 | 1 |
| 3. | Electric POP cutter | 0 | 1 |
| 4. | Hexagonal screw driver for 2.5mm screws (Adler company) | 0 | 3 |
| 5. | Hexagonal screw driver for 3.5mm screws (Adler company) | 0 | 3 |
| 6. | Bone nibbler double action straight (adler company) small large | 0 | 2 |
| 7. | Bone nibbler double action curve (adler company) small large | 0 | 2 |
| 8. | Hand drill | 0 | 2 |
| 9. | Bone chisel straight : small/medium & large | 0 | 3 each |
| 10. | Bone chisel curve : small/medium & large | 1 | 3 each |
| 11. | Bone gauge : small / medium & large | 1 | 3 each |
| 12. | Ortho periosteal elevator with handle : 6mm & 4mm | 1 | 2 each |
| 13. | Bone levers ; small / Medium & large | 1 | 5 each |
| 14 | Wire bender | 0 | 2 |
| 15. | Wire cutter : small & large | 1 | 2 each |
| 16. | Steel mallet | 0 | 2 |
| 17. | Pelvic fracture reduction set | 0 | 1 |
| 18 | Inter-locking set (Adler company) | 0 | 1 |
| 19. | Hemiarthroplasty set | 0 | 1 |
| 20. | Bone holding forcep straight (Adler company) : Small / Medium & Large | 1 | 5 each |
| 21. | Bone holding forcep Curve (Adler company) : Small / Medium & Large | 1 | 5 each |
| 22. | Plate holding forcep (Adler company) Small / Medium & Large | 1 | 5 each |
| 23. | Bone awl with handle (for SS wire) | 0 | 2 |
| 24. | DHS set | 0 | 1 |
| 25. | DCS set | 0 | 1 |
| 26. | Spinal set (Instrument) | 0 | 1 |
| 27. | Pedicle screws (Instrument) | 0 | 1 |
| 28. | PIVD (Instrument) | 0 | 1 |
| 29. | Wire passer curved : Small / Medium & Large | 1 | 2 each |
| 30. | Bone tap holder for : 2.5 mm & 3.5mm | 1 | 5 each |
| 31. | Schanz pin introducer | 0 | 2 |
| 32. | Self retaining retractor for spine operation | 1 | 2 sets |
| 33. | Self retaining retractor : Small / Medium & Large | 1 | 2 each |
| 34. | Bone fites | 0 | 2 |
| 35. | Crutchfield tongs | 1 | 5 |
| 36. | Digital automatic pneumatic tourniquet set | 0 | 2 |
| Medicine Unit |  |  |  |
| 1. | Defibrilator | 0 | 1 |
| 2. | Infusion Pump | 0 | 2 |
| 3. | Patient Monitor | 0 | 2 |
| 4. | ECG Machine | 1 | 1 |
| 5. | Otoscope | 1 | 4 |
| Physiotherapy Unit |  |  |  |
| 1. | Physiotherapy USG machine | 0 | 1 |
| 2. | Interferential therapy unit | 0 | 1 |
| 3. | TENS | 0 | 1 |
| 4. | Electrical Muscle stimulator | 0 | 1 |
| 5. | Traction bed | 0 | 1 |
| 6. | Traction unit | 0 | 1 |
| Anesthesia |  |  |  |
| 1. | Anesthesia Workstation 9100c NXT | 1 | 1 |

Construction K.Khono Sub Centre:

The Present construction Sub Centre is not functioning and functioning at VBD house.