## Sheet1
Government of Nagaland
Department of Health & Family Welfare
Nagaland, Kohima.
Facility Survey Proforma for Primary Health Centre, 2019
Identification Details
| District: | Phek
| Block: | Chozuba
| Name of PHC: | Thuvopisu
| Date of Data Collection | Day | Month | Year
|  | 14 | 11 | 2019
HR Training/Capacity building
| Name of the Training | Training Status
|  | Doctor/MO |  | GNM |  | ANM |  | Lab.Tech
|  | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained | No. in Place | No. Trained
| a. Maternal Health |  |  | 2 |  | 1
1) SBA
2) EmOC
3) BEmOC
4) LSAS
5) MTP/MVA
6) RTI/STI
7) BSU
8) IMEP
9) LaQshya
10) Dakshata
| 11) HIV AIDS & Syphilis |  |  |  | 2 |  | 1
b. Child Health
1) F-IMNCI
| 2) NSSK |  |  | 1
3) FBNC
4) IYCF
5) PRE SERVICE IMNCI
6) IMNCI
7) RBSK
| 8) IMMUNIZATION |  |  |  | 1
9) HBYC
| c. Family Planning |  |  |  | 1
1) IUCD
2) MINI LAP
3) NSV
4) PPIUCD
5) LAP STER.
6) FP Updates (PAIUCD, Oral Pills & Injectable Contraceptives)
7) ARSH/RKSK
d. National Vector Borne Disease Control Programme (NVBDCP)
e. Revised National Tuberculosis Control Programme (RNTCP)
f. National Leprosy Elimination Programme (NLEP)
g. Integrated Disease Surveillance Project (IDSP)
h. National Programme for Control of Blindness (NPCB)
i. National Iodine Deficiency Disease Control Programme (NIDDCP)
| j. National AIDS Control Programme (NACP) |  |  |  | 1
k. Non-Communicable Diseases (NCD)
Any other (Specify)
Equipments
Sl No. | Item | Nos Available
|  | Functional | Non Functional | Requirement/Proposed (In Numbers)
A | Essential
1 | Standard Surgical Set (for minor procedures like episiotomies stitching). | 1 | 0 | 1
2 | Equipment for Manual Vacuum Aspiration. | 0 | 0 | 1
3 | Equipment for New Born Care and Neonatal Resuscitation. | 1 | 0 | 1
4 | IUCD insertion kit. | 1 |  | 1
5 | Equipment/reagents for essential laboratory investigations. | 0 | 0 | 1
6 | Refrigerator. | 1 | 0 | 0
7 | ILR (Small) and DF (Small) with Voltage Stabilizer. | 0 | 0 | 1
8 | Cold Boxes (Small & Large): Small- one, Large – two. | 1 | 0 | 1
9 | Vaccine Carriers with 4 Icepacks: Two per SC (maximum 2 per polio booth) + 1 for PHC. | 20 | 0 | 0
10 | Spare ice pack box: 8, 25 & 60 ice pack boxes per vaccine carrier, Small cold box & Large cold box respectively. | 0 | 0 | 1
11 | Waste disposal twin bucket, hypochlorite solution/bleach: As per need. | 0 | 0 | 1
12 | Freeze Tag: 2 per ILR bimonthly. | 0 | 0 | 1
13 | Thermometres Alcohol (stem): Need Based | 0 | 0 | 1
14 | Ice box. | 0 | 0 | 1
15 | Computer with accessories including internet facility. | 0 | 0 | 1
16 | Binocular microscope. | 0 | 0 | 1
17 | Equipment under various National Programmes. | 0 | 0 | 1
18 | Radiant warmer for new born baby. | 1 | 0 | 0
19 | Adult weighing scale. | 2 | 2 | 3
20 | Baby weighing scale. | 2 | 0 | 0
21 | Height measuring Scale. | 1 | 0 | 0
22 | Table lamp with 200 watt bulb for New born baby. | 0 | 0 | 1
23 | Phototherapy unit (Desirable). | 0 | 0 | 1
24 | Self inflating bag and mask-neonatal size. | 0 | 0 | 1
25 | Laryngoscope and Endotracheal intubation tubes (neonatal). | 0 | 0 | 1
26 | Mucus extractor with suction tube and a foot operated suction machine. | 1 | 0 | 0
27 | Feeding tubes for baby. | 0 | 0 | 1
28 | Sponge holding forceps – 2. | 4 | 0 | 1
29 | Vulsellum uterine forceps – 2. | 3 | 0 | 1
30 | Tenaculum uterine forceps – 2. | 1 | 0 | 1
31 | MVA syringe and cannulae of sizes 4-8 (2 sets; one for back up in case of technical problems). | 10 | 0 | 10
32 | Kidney tray for emptying contents of MVA syringe. | 5 | 0 | 1
33 | Torch without batteries – 2. | 0 | 0 | 1
34 | Battery dry cells 1.5 volt (large size) – 4. | 0 | 0 | 4
35 | Bowl for antiseptic solution for soaking cotton swabs. | 2 | 0 | 2
36 | Tray containing chlorine solution for keeping soiled instruments. | 2 | 0 | 1
37 | Kits for testing residual chlorine in drinking water. | 0 | 0 | 1
38 | H2S Strip test bottles. | 0 | 0 | 1
39 | Head Light. | 0 | 0 | 1
40 | Ear specula. | 0 | 0 | 1
41 | B.P. Apparatus table model – 2. | 1 | 0 | 1
42 | Stethoscope – 2. | 1 | 0 | 2
43 | 3 sets of NSV instruments. | 0 | 0 | 2
44 | Minilap kits –5. | 0 | 0 | 1
B | Essential Requirements for a fully equipped and operational labour room
Sl. No. | Name of the Equipment
1 | Labour table with mattress, sheet, pillow (numbers as per case load), Macintosh, Foot-rest | 2 | 0 | 0
2 | Brass V drape to collect blood and amniotic fluid | 0 | 0 | 1
3 | Wall clock with seconds hand | 1 | 0 | 0
4 | Wall mounted thermometer | 0 | 0 | 1
5 | Suction apparatus | 1 | 0 | 1
6 | Equipment for adult resuscitation | 0 | 0 | 1
7 | Equipment for neonatal resuscitation | 0 | 0 | 1
8 | Delivery trolley | 1 | 0 | 1
9 | IV drip stand | 8 | 0 | 0
10 | Screen/Partition between two tables | 0 | 0 | 0
11 | Stool for birth companion | 2 | 0 | 0
12 | Lamp – wall mounted or side | 0 | 0 | 2
13 | Autoclave drums for instruments, linen, gloves, cotton, gauge, threads sanitary pads | 3 | 0 | 1
14 | a. Autoclaved delivery set for each delivery | 0 | 0 | 2
15 | Refrigerator | 1 | 0 | 0
16 | Sphygmomanometer, adult and newborn thermometer and newborn weighing machine | 1 | 0 | 1
17 | Consumables like gloves, apron, cotton, thread, gauze, sanitary napkins, catgut, IV drip sets, needle, cord clamp, medicines (injectable, oral and parenteral, leucoplast etc. | 20 | 0 | 50
18 | Pulse oxymeter | 0 | 0 | 4
19 | Sterilizer | 2 | 2 | 3
20 | Oxygen cylinder | 2 | 0 | 0
21 | Oxygen concentrator | 0 | 0 | 1
22 | Partograph | 1 | 0 | 0
23 | Labeled plastic jars for drugs and injectables with date of expiry written on them against each drug | 0 | 0 | 10
24 | Coloured bins for bio medical waste management | 3 | 0 | 10
25 | Hub cutter | 3 | 2 | 2
26 | Puncture proof container | 0 | 0 | 3
27 | Plastic tubs for 0.5% Chlorine solution | 0 | 0 | 2
28 | Intranatal Protocols (AMTSL , PPH etc.) | 1 | 0 | 1
29 | Wheel chair/patient's trolley | 2 | 0 | 1
30 | Hand-washing area and toilet for the admitted clients | 4 | 0 | 0
31 | Foeto-scope/Foetal Doppler | 1 | 0 | 1
32 | Stethoscope, | 2 | 1 | 2
33 | Display of SBA quality protocols, and shadow less lamp. | 1 | 0 | 1
34 | Mosquito Repellent | 0 | 0 | 3
TRAYS for Labour Rooms
1 | Delivery tray: Scissor, Artery forceps, Sponge holding forceps, Speculum, Urinary catheter, Bowl for antiseptic lotion, Kidney tray, Gauze pieces, Cotton swabs, Sanitary pads, Gloves. | 2 | 0 | 1
2 | Episiotomy tray: Inj. Xylocaine 2%, 10 ml disposable syringe with needle, Episiotomy scissor, Artery forceps, Allis forceps, Sponge holding forceps, Toothed forceps, Thumb forceps, Kidney tray, Needle holder, Needle (round body and cutting), Chromic catgut no. 0, Gauze pieces, Cotton swabs, Antiseptic lotion, Gloves. | 1 | 0 | 1
3 | Baby tray: Two pre-warmed towels/sheets for wrapping the baby (Baby should be received in a pre-warmed towel. Do not use metallic tray.), Mucus extractor, Bag and mask, Sterilized thread/cord clamp, Needle (26gauze) and syringe(1ml.), Inj. Vitamin K, Gloves. | 0 | 0 | 1
4 | Medicine tray*: Inj. Oxytocin 10 IU (to be kept in fridge), Inj. Gentamicin, Inj.Vit K, Inj. Betamethason, Inj. Hydralazine, Cap Ampicillin 500 mg, Tab. Metronidazole 400 mg, Tab Paracetamol, Tab Ibuprofen, Tab B complex, Tab.Misoprostol 200 micrograms, Tab.Nifedipine, Tab.Methyldopa, IV fluids - Ringer lactate, Normal Saline, Magnifying glass. (*-Nevirapin and other HIV drugs only for ICTC and ART Centres) | 1 | 0 | 1
5 | Emergency drug tray:** Inj. Oxytocin (to be kept in fridge), Inj. Magsulf 50%, Inj.Calcium gluconate-10%, Inj. Dexamethasone, Inj. Ampicillin, Inj. Gentamicin, Inj.Metronidazole, Inj. Lignocaine-2%, Inj. Adrenaline, Inj. Hydrocortisone Succinate, Inj.Diazepam, Inj. Pheneraminemaleate, Inj. Carboprost, Inj Pentazocin chloride, Inj. Promethazine, Inj.Betamethasone Inj.Hydralazine, IV fluids- Ringer lactate, normal saline, IV sets with 16-gauge needle at least two, IV Cannula, Vials for blood collection, Syringes and needles, Tab.Nifedipine, Tab.Methyldopa, Suction catheter, Mouth gag (** only for L2 & L3/BeMOC & CeMOC facilities) | 1 | 0 | 1
6 | MVA/ EVA tray: Gloves, Speculum, Anterior vaginal wall retractor, Posterior vaginal wall retractor, Sponge holding forceps, MVA syringe and cannulas, MTP cannulas, Urinary catheter, Small bowl of antiseptic lotion, Sterilized gauze/pads, Cotton swabs, Disposable syringe and needle, Tab.misoprostol. | 1 | 0 | 1
7 | PPIUCD tray***: PPIUCD Insertion Forceps, Sym's speculum, Ring forceps or sponge holding forceps, Cu IUCD 380A/ Cu IUCD 375 in a sterile package, Cotton swabs, Betadine solution. (*** – only for L3/DHs facilities with PPIUCD trained provider) | 1 | 0 | 1
Equipment and accessories for NBCC
1 | Baby tray | 0 | 0 | 1
2 | Pediatric stethoscope (preferable to have a neonatal stethoscope) | 0 | 0 | 1
3 | Baby scale | 0 | 0 | 1
4 | Radiant warmer | 1 | 0 | 1
5 | Self-inflating bag and mask–neonatal size (0 and 1) | 0 | 0 | 1
6 | Oxygen hood (neonatal) | 0 | 0 | 1
7 | Laryngoscope and Endotracheal intubation tubes* | 0 | 0 | 1
8 | Two set of pencil batteries | 0 | 0 | 6
9 | Mucus extractor with suction tube and a foot-operated suction machine NG tubes | 1 | 0 | 1
10 | Blankets | 0 | 0 | 3
11 | Two clean and dry towels | 0 | 0 | 6
12 | Feeding tubes | 0 | 0 | 1
13 | Empty vials for collecting blood | 0 | 0 | 2
14 | Alcohol handrub | 0 | 0 | 2
15 | HLD/sterile gloves | 10 | 0 | 20
16 | Syringe hub cutter. | 4 | 3 | 2
C | List of equipment for Pap smear
1 | Cusco’s vaginal speculum (each of small, medium and large size) | 3 | 0 | 1
2 | Sim’s vaginal speculum – single & double ended - (each of small, medium and large size) | 1 | 0 | 2
3 | Anterior Vaginal wall retractor | 2 | 0 | 2
4 | Sterile Gloves | 10 | 0 | 20
5 | Sterilised cotton swabs and swab sticks in a jar with lid | 0 | 0 | 3
6 | Kidney tray for keeping used instruments | 1 | 0 | 3
7 | Bowl for antiseptic solution | 2 | 0 | 1
8 | Antiseptic solution: Chlorhexidine 1% or Cetrimide 2% (if povidone iodine solution is available, it is preferable to use that) | 0 | 0 | 1
9 | Cheatle’s forceps | 4 | 0 | 1
10 | Proper light source/torch | 0 | 0 | 1
11 | For vaginal and Pap Smears:
| Clean slides with cover slips | 0 | 0 | 2
| Cotton swab sticks | 0 | 0 | 2
| KOH solution in bottle with dropper | 0 | 0 | 2
| Saline in bottle with dropper | 0 | 0 | 2
| Ayre’s spatula | 0 | 0 | 1
| Fixing solution/hair spray | 0 | 0 | 1
Furniture
S.No. | Item | Nos Available
|  | Functional | Non Functional | Requirement/Proposed (In Numbers)
1 | Examination Table | 1 | 0 | 1
2 | Delivery Table | 2 | 0 | 0
3 | Saline stand | 8 | 0 | 0
4 | Wheel chair | 0 | 0 | 1
5 | Stretcher on trolley | 1 | 0 | 1
6 | Oxygen trolley | 1 | 0 | 0
7 | Height measuring stand | 1 | 0 | 1
8 | Dressing trolley | 0 | 0 | 1
9 | Mayo trolley | 0 | 0 | 1
10 | Instrument trolley | 0 | 0 | 1
11 | Instrument tray | 2 | 0 | 1
Sl.No. | Infrastructure | Nos. Available
|  | Functional | Non Functional | Requirement/Proposed
1 | No. Rooms Available/Existing | 7 | 0 | 0
2 | Toilets | 6 | 0 | 0
3 | Conditions of the Infrastructure
4 | Water Reservoire/Overhead tanks for water supply | 2 | 0 | 0
5 | Any other Remarks/Comments